## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
YY/T 0734.5-2020 | 清洗消毒器 第5部分:对不耐高温的非介入式医疗器械进行化学消毒的清洗消毒器 要求和试验 |  | 正常
GB 4793.4-2019 | 测量、控制和实验室用电气设备的安全要求 第4部分:用于处理医用材料的灭菌器和清洗消毒器的特殊要求 | Safety requirements for electrical equipment for measurement,control and laboratory use Particular requirements for autoclaves using steam for the treatment of medical materials and for laboratory process | 正常
EN ISO 15883-4-2018 | 清洗消毒器. 第4部分: 不耐热的内窥镜使用化学消毒的清洗消毒器的试验和要求(ISO 15883-4-2018); 德文版本EN ISO 15883-4-2018 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2018); German version EN ISO 15883-4:2018 | 正常
EN ISO 15883-4-2018 | 清洗消毒器. 第4部分: 不耐热的内窥镜使用化学消毒的清洗消毒器的试验和要求(ISO 15883-4-2018); 德文版本EN ISO 15883-4-2018 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2018); German version EN ISO 15883-4:2018 | 正常
ASTM E1766-2015 | 用于可重复使用的医疗装置的消毒处理的有效性的标准试验方法 | Standard Test Method for Determination of Effectiveness of Sterilization Processes for Reusable Medical Devices | 正常
ASTM E1766-2015 | 用于可重复使用的医疗装置的消毒处理的有效性的标准试验方法 | Standard Test Method for Determination of Effectiveness of Sterilization Processes for Reusable Medical Devices | 正常
DIN EN ISO 15883-4-2019 | 清洗消毒器. 第4部分: 不耐热的内窥镜使用化学消毒的清洗消毒器的试验和要求(ISO 15883-4-2018); 德文版本EN ISO 15883-4-2018 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2018); German version EN ISO 15883-4:2018 | 正常
ISO 15883-6-2011 | 垫圈-消毒器具.第6部分:非侵入式,非关键医疗设备和保健设备用的利用热消毒的垫圈-消毒器具的试验和要求 | Washer-disinfectors - Part 6: Requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive, non-critical medical devices and healthcare equipment | 正常
ISO 15883-2-2006 | 洗涤消毒器.第2部分:对外科设备、麻醉设备、碗、碟、收集器、器皿、玻璃器具等进行热消毒的洗涤消毒器的要求和试验 | Washer-disinfectors - Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. | 正常
ISO 15883-4-2008 | 垫圈-消毒器具.第4部分:不耐热的内诊镜使用化学消毒的垫圈-消毒器具的要求和试验 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes | 正常
ISO 15883-3-2006 | 洗涤消毒器.第3部分:对人类废弃物容器进行热消毒的洗涤消毒器的要求和试验 | Washer-disinfectors - Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers | 正常
ISO 15883-1-2006 | 洗涤消毒器.第1部分:一般要求、术语、定义和试验 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests | 正常
ISO/TS 15883-5-2005 | 洗涤消毒器.第5部分:试验土和清洁效果的实验说明方法 | Washer-disinfectors - Part 5: Test soils and methods for demonstrating cleaning efficacy | 正常
ISO 15883-7-2016 | 洗涤消毒器. 第7部分: 对非侵害性非关键不耐热医疗设备和卫生保健设备进行化学消毒的洗涤消毒器要求和试验 | Washer-disinfectors - Part 7: Requirements and tests for washer-disinfectors employing chemical disinfection for non-invasive, non-critical thermolabile medical devices and healthcare equipment | 正常
ISO 15883-1 AMD 1-2014 | 清洗消毒器. 第1部分: 一般要求, 术语, 定义和试验; 修改件1 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests; Amendment 1 | 正常
NF S98-040-4-2018 | 清洗消毒器. 第4部分: 采用化学消毒不耐热内窥镜的清洗消毒器的试验和要求 | Washer-disinfectors - Part 4 : requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes | 正常
YY/T 0734.3-2018 | 清洗消毒器 第3部分:对人体废弃物容器进行湿热消毒的清洗消毒器 要求和试验 |  | 正常
YY/T 0734.2-2018 | 清洗消毒器 第2部分:对外科和麻醉器械等进行湿热消毒的清洗消毒器 要求和试验 |  | 正常
EN 13060/A1-2017 | 小型蒸汽灭菌器；德文和英文版本EN 13060:2014/prA1:2017 | Small steam sterilizers; German and English version EN 13060:2014/prA1:2017 | 正常
YY/T 0734.1-2018 | 清洗消毒器 第1部分:通用要求和试验 |  | 正常
YY/T 1612-2018 | 医用灭菌蒸汽质量的测试方法 |  | 正常
BS EN 61010-031-2015 | 测量、控制和实验室用电气设备的安全性要求.电气测量和试验用手持探测器组件的安全性要求 | Safety requirements for electrical equipment for measurement, control and laboratory use. Safety requirements for hand-held probe assemblies for electrical measurement and test | 正常
BS EN 13060-2014 | 小型蒸汽灭菌器 | Small steam sterilizers | 正常
BS EN 12183-2014 | 手动轮椅.要求和试验方法 | Manual wheelchairs. Requirements and test methods | 正常
BS EN 14180-2014 | 医用灭菌器.低温蒸汽和甲醛灭菌器.要求和试验 | Sterilizers for medical purposes. Low temperature steam and formaldehyde sterilizers. Requirements and testing | 正常
BS EN 1422-2014 | 医用消毒器.环氧乙烷消毒器.要求和试验方法 | Sterilizers for medical purposes. Ethylene oxide sterilizers. Requirements and test methods | 正常
BS EN ISO 15883-4-2009 | 清洗消毒器.不耐热内诊镜使用化学品消毒的清洗消毒器的试验和要求 | Washer-disinfectors - Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes | 正常
BS EN 61010-1-2010 | 测试,控制和实验室用电气设备安全性要求.一般要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use. General requirements | 正常
BS EN ISO 15883-2-2009 | 洗涤消毒器.对外科器具,麻醉设备,碗,碟,收集器,器皿,玻璃器具等进行热物消毒的洗涤消毒器的试验方法和要求 | Washer-disinfectors - Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc | 正常
BS EN ISO 15883-3-2009 | 洗涤消毒器.对人类废弃物容器进行热消毒的洗涤消毒器的试验和要求 | Washer-disinfectors - Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers | 正常
BS EN ISO 15883-1-2009 | 洗涤消毒器.一般要求,术语,定义和试验 | Washer-disinfectors - General requirements, terms and definitions and tests | 正常
BS EN ISO 15883-7-2016 | 清洗消毒器. 对非侵害性非关键不耐热医疗设备和卫生保健设备进行化学消毒的洗涤消毒器要求和试验 | Washer-disinfectors. Requirements and tests for washer-disinfectors employing chemical disinfection for non-invasive, non-critical thermolabile medical devices and healthcare equipment | 正常
BS EN 285-2015 | 消毒.蒸气消毒.大型消毒设备 | Sterilization. Steam sterilizers. Large sterilizers | 正常
BS EN 61010-2-040-2015 | 测量,控制和实验室用电气设备的安全性要求.医疗材料处理用灭菌器和清洗消毒器的详细要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Particular requirements for sterilizers and washer-disinfectors used to treat medical materials | 正常
BS EN ISO 15883-6-2015 | 清洗消毒器.非侵害性非关键医疗设备和卫生保健设备使用清洗消毒器进行热力消毒的要求和试验 | Washer-disinfectors. Requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive, non-critical medical devices and healthcare equipment | 正常
BS 2646-3-1993 | 实验室高压灭菌釜.第3部分:安全使用及操作指南 | Autoclaves for sterilization in laboratories - Guide to safe use and operation | 正常
BS EN 61010-2-040-2005 | 测量,控制和实验室用电气设备的安全性要求.第2-040部分:医疗材料处理用灭菌器和清洗消毒器的详细要求 | Safety requirements for electrical equipment for measurement, control and laboratory use - Part 2-040: Particular requirements for sterilizers and washer-disinfectors used to treat medical materials | 正常
BS 3970-2-1991 | 医疗制品灭菌消毒设备.第2部分:含水液体密封硬质容器用蒸汽消毒器规范 | Sterilizing and disinfecting equipment for medical products - Specification for steam sterilizers for aqueous fluids in sealed rigid containers | 正常
BS 2646-5-1993 | 实验室高压灭菌釜.功能和性能试验方法 | Autoclaves for sterilization in laboratories. Methods of test for function and performance | 正常
BS 3970-1-1990 | 医疗制品用灭菌消毒设备.第1部分:一般要求规范 | Sterilizing and disinfecting equipment for medical products - Specification for general requirements | 正常
BS EN 12347-1998 | 生物技术.蒸汽灭菌器和高压釜性能规范 | Biotechnology - Performance criteria for steam sterilizers and autoclaves | 正常
PD IEC TR 61010-3-042-2002 | 测量、控制和实验室用电气设备的安全要求.IEC 61010-2-042:1997.医疗材料处理和实验室处理用蒸压器和消毒器的特殊要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Conformity verification report for IEC 61010-2-042:1997, particular requirements for autoclaves and sterilizers using toxic gas for the treatment of medical materials, and for laboratory processes | 正常
PD IEC TR 61010-3-043-2002 | 测量、控制和实验室用电气设备的安全要求.IEC 61010-2-043:1997<医疗材料处理和实验室试验用热空气或热惰性气体干加热消毒器的特殊要求>的符合性验证报告 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Conformity verification report for IEC 61010-2-043:1997. Particular requirements for dry heat sterilizers using either hot air or hot inert gas for treatment of medical materials and for laboratory processes | 正常
PD IEC TR 61010-3-041-2002 | 测量、控制和实验室用电气设备的安全要求.IEC 61010-2-041:1995的合格评定报告.医疗材料处理和实验室试验用蒸气的蒸压器 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Conformity verification report for IEC 61010-2-041:1995. Particular requirements for autoclaves using steam for the treatment of medical materials, and for laboratory processes | 正常
BS 2646-1-1993 | 实验室高压灭菌釜.第1部分:设计、制造、安全和性能规范 | Autoclaves for sterilization in laboratories - Specification for design, construction, safety and performance | 正常
BS 2646-4-1991 | 实验室高压灭菌釜.第4部分:维修指南 | Autoclaves for sterilization in laboratories - Guide to maintenance | 正常
BS 2646-2-1990 | 实验室灭菌用高压釜.第2部分:设计与安装指南 | Autoclaves for sterilization in laboratories - Guide to planning and installation | 正常
BS 3970-5-1990 | 医疗制品灭菌消毒设备.第5部分:低温蒸汽消毒器规范 | Sterilizing and disinfecting equipment for medical products - Specification for low temperature steam disinfectors | 正常
EN 61010-2-040-2015 | 测量、控制和实验室用电气设备的安全要求.第2-040部分:处理医疗材料用灭菌器和清洗消毒器的特殊要求(IEC 61010-2-040-2015).德文版本EN 61010-2-040-2015 | Safety requirements for electrical equipment for measurement, control, and laboratory use - Part 2-040: Particular requirements for sterilizers and washer-disinfectors used to treat medical materials (IEC 61010-2-040:2015); German version EN 61010-2-040:2015 | 正常
EN 285-2015 | 灭菌.蒸汽灭菌器.大型灭菌器.德文版本EN 285-2015 | Sterilization - Steam sterilizers - Large sterilizers; German version EN 285:2015 | 正常
EN ISO 15883-7-2016 | 洗涤消毒器.第7部分:对非侵害性非关键不耐热医疗设备和卫生保健设备进行化学消毒的洗涤消毒器要求和试验(ISO 15883-7-2016).德文版本EN ISO 15883-7-2016 | Washer-disinfectors - Part 7: Requirements and tests for washer-disinfectors employing chemical disinfection for non-invasive, non-critical thermolabile medical devices and healthcare equipment (ISO 15883-7:2016); German version EN ISO 15883-7:2016 | 正常
EN ISO 15883-6-2015 | 清洗消毒器.第6部分:非侵入式,非关键医疗设备和保健设备用的利用热消毒的垫圈-消毒器具的试验和要求(ISO 15883-6-2011).德文版本EN ISO 15883-6-2015 | Washer-disinfectors - Part 6: Requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive, non-critical medical devices and healthcare equipment (ISO 15883-6:2011); German version EN ISO 15883-6:2015 | 正常
EN ISO 15883-1-2014 | 清洗消毒器.第1部分:一般要求,术语,定义和试验(ISO 15883-1-2006+Amd 1-2014).德文版本EN ISO 15883-1-2009+A1-2014 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests (ISO 15883-1:2006 + Amd 1:2014); German version EN ISO 15883-1:2009 + A1:2014 | 正常
EN 13060-2014 | 小型蒸汽灭菌器.德文版本EN 13060-2014 | Small steam sterilizers; German version EN 13060:2014 | 正常
EN 14180-2014 | 医用灭菌器.低温蒸汽和甲醛灭菌器.要求和试验.德文版本EN 14180-2014 | Sterilizers for medical purposes - Low temperature steam and formaldehyde sterilizers - Requirements and testing; German version EN 14180:2014 | 正常
EN 1422-2014 | 医用灭菌器.环氧乙烷灭菌器.要求和试验方法;德文版本EN 1422-2014 | Sterilizers for medical purposes - Ethylene oxide sterilizers - Requirements and test methods; German version EN 1422:2014 | 正常
EN ISO 15883-2-2009 | 清洗消毒器.第3部分:对外科器械,麻醉设备,碗,碟,接收器,器具,玻璃器具等进行热消毒的清洗消毒器的试验方法和要求(ISO 15883-2-2006).英文版本DIN EN ISO 15883-2-2006 | Washer-disinfectors - Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. (ISO 15883-2:2006); English version of DIN EN ISO 15883-2:2009-09 | 正常
EN ISO 15883-3-2009 | 清洗消毒器.第3部分:对人类废弃物容器进行热消毒的清洗消毒器的试验和要求(ISO 15883-3-2006).英文版本DIN EN ISO 15883-3-2009-09 | Washer-disinfectors - Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers (ISO 15883-3:2006); English version of DIN EN ISO 15883-3:2009-09 | 正常
EN ISO 15883-4-2009 | 清洗消毒器.第4部分:不耐热的内窥镜使用化学消毒的清洗消毒器的试验和要求(ISO 15883-4-2008).英文版本DIN EN ISO 15883-4-2009-09 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2008); English version of DIN EN ISO 15883-4:2009-09 | 正常
EN 12347-1998 | 生物技术.蒸气消毒器和高压锅的性能标准 | Biotechnology - Performance criteria for steam sterilizers and autoclaves; German version EN 12347:1998 | 正常
EN 867-5-2001 | 消毒器用非生物系统.第5部分:B型和S型小型消毒器的指示和处理系统规范. | Non-biological systems for use in sterilizers - Part 5: Specification for indicator systems and process challenge devices for use in performance testing for small sterilizers Type B and Type S; German version EN 867-5:2001 | 正常
ANSI/AAMI ST8-2013 | 医院蒸汽灭菌器 | Hospital steam sterilizers | 正常
ANSI/AAMI ST15883-3-2012 | 洗涤消毒器.第3部分:对人类废弃物容器进行热消毒的洗涤消毒器的要求和试验 | Washer-disinfectors - Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers | 正常
ANSI/AAMI ST15883-2-2013 | 洗涤消毒器.第2部分:对外科设备、麻醉设备、碗、碟、收集器、器皿、玻璃器具等进行热消毒的洗涤消毒器的试验和要求 | Washer-disinfectors, Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc | 正常
ANSI/AAMI ST15883-1/A2-2012 | 洗涤消毒器.第1部分:通用要求,术语和试验.修改件2 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests, Amendment 2 | 正常
ANSI/AAMI ST15883-1-2009/A2-2012 | 洗涤消毒器.第1部分:术语,定义和测试通用要求.修改件2 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests, Amendment 2 | 正常
ANSI/AAMI ST15883-1-2009 | 洗涤消毒器.第1部分:术语,定义和测试通用要求 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests | 正常
ANSI/AAMI ST55-2010 | 台式蒸气灭菌器 | Table-top steam sterilizers | 正常
ANSI/AAMI ST40-2004 | 卫生设施中台式干热(加热的空气)灭菌和无菌性保证 | Table-top dry heat (heated air) sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI/ISO 11138-1-2006 | 医疗保健产品灭菌.生物指示器.第1部分:一般要求 | Sterilization of health care products - Biological indicators - Part 1: General requirements | 正常
ANSI/AAMI ST24-1999 | 卫生保健机构用一般用途的环氧乙烷自动灭菌器和环氧乙烷无菌源 | Automatic, general-purpose ethylene oxide sterilizers and ethylene oxide sterilant sources intended for use in health care facilities | 正常
ANSI/AAMI ST50-2004 | 干热(加热空气)灭菌器 | Dry heat (heated air) sterilizers | 正常
IEC 61010-2-040-2015 | 测量、控制和实验室用电气设备的安全要求.第2-040部分:处理医疗材料用灭菌器和清洗消毒器的特殊要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use - Part 2-040: Particular requirements for sterilizers and washer-disinfectors used to treat medical materials | 正常
DIN 58948-7-2017 | 消毒.低温消毒器.第7部分:环氧乙烷消毒器及其电源的安装和操作要求 | Sterilization - Low temperature sterilizers - Part 7: Requirements for the installation and operation of ethylene oxide sterilizers and their supply sources | 正常
DIN EN 61010-2-040-2016 | 测量、控制和实验室用电气设备的安全要求.第2-040部分:处理医疗材料用灭菌器和清洗消毒器的特殊要求(IEC 61010-2-040-2015).德文版本EN 61010-2-040-2015 | Safety requirements for electrical equipment for measurement, control, and laboratory use - Part 2-040: Particular requirements for sterilizers and washer-disinfectors used to treat medical materials (IEC 61010-2-040:2015); German version EN 61010-2-040:2015 | 正常
DIN EN 285-2016 | 灭菌.蒸汽灭菌器.大型灭菌器.德文版本EN 285-2015 | Sterilization - Steam sterilizers - Large sterilizers; German version EN 285:2015 | 正常
DIN 58948-17-2016 | 消毒.低温消毒器.第17部分:低温蒸汽甲醛和甲醛消毒器及其电源的安装和操作用要求 | Sterilization - Low temperature sterilizers - Part 17: Requirements for the installation and operation of low temperature steam formaldehyde and formaldehyde sterilizers and their supply sources | 正常
DIN EN ISO 15883-7-2016 | 洗涤消毒器.第7部分:对非侵害性非关键不耐热医疗设备和卫生保健设备进行化学消毒的洗涤消毒器要求和试验(ISO 15883-7-2016).德文版本EN ISO 15883-7-2016 | Washer-disinfectors - Part 7: Requirements and tests for washer-disinfectors employing chemical disinfection for non-invasive, non-critical thermolabile medical devices and healthcare equipment (ISO 15883-7:2016); German version EN ISO 15883-7:2016 | 正常
DIN EN 13060/A1-2017 | 小型蒸汽灭菌器；德文和英文版本EN 13060:2014/prA1:2017 | Small steam sterilizers; German and English version EN 13060:2014/prA1:2017 | 正常
DIN EN ISO 15883-6-2016 | 清洗消毒器.第6部分:非侵入式,非关键医疗设备和保健设备用的利用热消毒的垫圈-消毒器具的试验和要求(ISO 15883-6-2011).德文版本EN ISO 15883-6-2015 | Washer-disinfectors - Part 6: Requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive, non-critical medical devices and healthcare equipment (ISO 15883-6:2011); German version EN ISO 15883-6:2015 | 正常
DIN EN ISO 15883-1-2014 | 清洗消毒器.第1部分:一般要求,术语,定义和试验(ISO 15883-1-2006+Amd 1-2014).德文版本EN ISO 15883-1-2009+A1-2014 | Washer-disinfectors - Part 1: General requirements, terms and definitions and tests (ISO 15883-1:2006 + Amd 1:2014); German version EN ISO 15883-1:2009 + A1:2014 | 正常
DIN EN 13060-2015 | 小型蒸汽灭菌器.德文版本EN 13060-2014 | Small steam sterilizers; German version EN 13060:2014 | 正常
DIN 58949-6-2015 | 消毒. 蒸汽消毒装置. 第6部分: 蒸汽消毒装置的操作, 安装和电源要求 | Disinfection - Steam disinfection apparatus - Part 6: Operation of steam disinfection apparatus, their requirements for the installation and their supply sources | 正常
DIN 58949-4-2014 | 消毒.蒸汽消毒器.第4部分:有效性检验用生物指示器 | Disinfection - Steam disinfection-apparatus - Part 4: Biological indicators for efficacy tests | 正常
DIN EN 14180-2014 | 医用灭菌器.低温蒸汽和甲醛灭菌器.要求和试验.德文版本EN 14180-2014 | Sterilizers for medical purposes - Low temperature steam and formaldehyde sterilizers - Requirements and testing; German version EN 14180:2014 | 正常
DIN EN 1422-2014 | 医用灭菌器.环氧乙烷灭菌器.要求和试验方法;德文版本EN 1422-2014 | Sterilizers for medical purposes - Ethylene oxide sterilizers - Requirements and test methods; German version EN 1422:2014 | 正常
DIN 58949-2-2014 | 消毒.蒸汽消毒装置.第2部分:要求 | Disinfection - Steam disinfection apparatus - Part 2: Requirements; Text in German and English | 正常
DIN 58946-7-2014 | 消毒.蒸汽消毒器.第7部分:卫生设施中用蒸汽消毒器建造的先决条件、服务和操作要求 | Sterilization - Steam sterilizers - Part 7: Edificial preconditions, requirements for the services and the operation of steam sterilizers used in health care facilities | 正常
DIN EN 12347-1998 | 生物技术.蒸气消毒器和高压锅的性能标准 | Biotechnology - Performance criteria for steam sterilizers and autoclaves; German version EN 12347:1998 | 正常
DIN EN 867-5-2001 | 消毒器用非生物系统.第5部分:B型和S型小型消毒器的指示和处理系统规范. | Non-biological systems for use in sterilizers - Part 5: Specification for indicator systems and process challenge devices for use in performance testing for small sterilizers Type B and Type S; German version EN 867-5:2001 | 正常
DIN 58949-1-2001 | 消毒.蒸汽消毒装置.第1部分:术语 | Disinfection - Steam disinfection-apparatus - Part 1: Terminology | 正常
DIN SPEC 58929-2012 | 卫生保健系统中小型蒸汽灭菌器的操作.灭菌过程的常规控制和验证用导则 | Operation of small steam sterilizers in the health-care system - Guidance for validation and routine control of sterilization processes | 正常
DIN 58951-2-2018 | 灭菌.实验室蒸汽灭菌器.第2部分:仪器要求、使用和安装要求 | Sterilization - Steam sterilizers for laboratory use - Part 2: Apparatus requirements, requirements on services and installation | 正常
DIN 58949-3-2012 | 消毒.蒸汽消毒设备.第3部分:效率测试 | Disinfection - Steam disinfection apparatus - Part 3: Efficiency testing | 正常
DIN 58950-6-2011 | 消毒.药品蒸汽消毒器.第6部分:操作;德文和英文 | Sterilization - Steam sterilizers for pharmaceutical products - Part 6: Operation; Text in German and English | 正常
DIN 58921-2011 | 证明蒸汽消毒时医疗设备模拟器的适宜性的试验方法 -M医疗设备模拟器试验;德文和英文 | Test method to demonstrate the suitability of a medical device simulator during steam sterilisation - Medical device simulator testing; Text in German and English | 正常
DIN 58950-7-2011 | 消毒.药品蒸汽消毒器.第7部分:使用和当地环境要求;文本为德文和英文 | Sterilization - Steam sterilizers for pharmaceutical products - Part 7: Requirements on services and local environment; Text in German and English | 正常
DIN 58950-1-2011 | 消毒.药品蒸汽消毒器.第1部分:术语.德文和英文文本 | Sterilization - Steam sterilizers for pharmaceutical products - Part 1: Terminology; Text in German and English | 正常
DIN 58950-3-2011 | 消毒.药品蒸汽消毒器.第3部分:试验;德文和英文文本 | Sterilization - Steam sterilizers for pharmaceutical products - Part 3: Tests; Text in German and English | 正常
DIN EN ISO 15883-2-2009 | 清洗消毒器.第3部分:对外科器械,麻醉设备,碗,碟,接收器,器具,玻璃器具等进行热消毒的清洗消毒器的试验方法和要求(ISO 15883-2-2006).英文版本DIN EN ISO 15883-2-2006 | Washer-disinfectors - Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. (ISO 15883-2:2006); English version of DIN EN ISO 15883-2:2009-09 | 正常
DIN EN ISO 15883-3-2009 | 清洗消毒器.第3部分:对人类废弃物容器进行热消毒的清洗消毒器的试验和要求(ISO 15883-3-2006).英文版本DIN EN ISO 15883-3-2009-09 | Washer-disinfectors - Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers (ISO 15883-3:2006); English version of DIN EN ISO 15883-3:2009-09 | 正常
DIN EN ISO 15883-4-2009 | 清洗消毒器.第4部分:不耐热的内窥镜使用化学消毒的清洗消毒器的试验和要求(ISO 15883-4-2008).英文版本DIN EN ISO 15883-4-2009-09 | Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2008); English version of DIN EN ISO 15883-4:2009-09 | 正常
DIN 58950-2-2011 | 消毒.药品蒸汽消毒器.第2部分:技术要求 | Sterilization - Steam-sterilizers for pharmaceutical products - Part 2: Technical requirements; Text in German and English | 正常
DIN ISO/TS 15883-5-2006 | 洗涤消毒器.第5部分:试验土和示范净化效果办法(ISO/TS 15883-5-2005).德文版本 CEN ISO/TS 15883-5-2005 | Washer-disinfectors - Part 5: Test soils and methods for demonstrating cleaning efficacy (ISO/TS 15883-5:2005); German version CEN ISO/TS 15883-5:2005 | 正常
JIS K3824-2012 | 超滤组件细菌内毒素抑制性的测试方法 | Testing methods for determining endotoxin rejection of ultrafiltration modules | 正常
JIS K3823-2012 | 超滤组件细菌抑制性的测试方法 | Testing methods for determining bacterial rejection of ultrafiltration modules | 正常
JIS T7329-2008 | 医疗用清洗消毒器 | Washer sterilizers for medical use | 正常
JIS T0103-2005 | 支持通信的图形符号的设计原则 | Design principles of pictorial symbols for communication support | 正常
JIS T7328-2005 | 医用甲醛气消毒器 | Formaldehyde gas disinfecters for medical use | 正常
JIS T7323-2005 | 医用氧化乙烯气灭菌装置 | Ethylene oxide gas sterilizers for medical use | 正常
JIS T7322-2005 | 医用高压蒸汽灭菌装置 | High-pressure steam sterilizers for medical use | 正常
JIS T7324-2005 | 医用高压蒸汽灭菌装置(小型) | High-pressure steam sterilizers for medical use (Small size) | 正常
JIS K3801-2000 | 微生物用HEPA过滤器的试验方法 | Test method of HEPA filters for microbiological use | 正常
JIS T7325-1989 | 医疗用小型氧化乙烯气灭菌器 | Ethylene oxide gas sterilizers for medical use (small size) | 正常
JIS K3803-1990 | 空气消毒用深度过滤器悬浮物滞留量测定的检验方法 | Testing methods for determining aerosol retention of depthfilter for air sterilization | 正常
NF S98-040-7-2016 | 清洗消毒器. 第7部分: 对非侵害性非关键不耐热医疗设备和卫生保健设备进行化学消毒的洗涤消毒器的要求和试验 | Washer-disinfectors - Part 7 : requirements and tests for washer-disinfectors employing chemical disinfection for non-invasive, non-critical thermolabile medical devices and healthcare equipment | 正常
NF S98-040-6-2016 | 清洗消毒器具.第6部分:非侵入式,非关键医疗设备和保健设备用的利用热消毒的清洗消毒器具的试验和要求 | Washer-disinfectors - Part 6 : requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive, non-critical medical devices and healthcare equipment | 正常
NF S98-011-2016 | 清毒.蒸汽消毒器.大型消毒器 | Sterilization - Steam sterilizers - Large sterilizers | 正常
NF S98-040-3-2009 | 洗涤消毒器.第3部分:生活废物箱高温消毒清洗消毒器的试验和要求 | Washer-disinfectors - Part 3 : requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers. | 正常
NF S98-011-2009 | 清毒.蒸汽消毒器.大型消毒器 | Sterilization - Steam sterilizers - Large sterilizers. | 正常
NF S98-040-4-2009 | 清洗消毒器.第4部分:采用化学消毒不耐热内窥镜的清洗消毒器的试验和要求 | Washer-disinfectors - Part 4 : requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes. | 正常
NF S98-011/IN2-2009 | 消毒.蒸汽消毒器.大型消毒器 | Sterilization - Steam sterilizers - Large sterilizers. | 正常
NF C42-724-1997 | 测量、控制和试验室用电气设备的安全要求.第2-042部分:医疗材料处理及试验室加工用毒气高压消毒蒸锅和消毒器的特殊要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Part 2-042 : particular requirements for autoclaves and sterilizers using toxic gas for the treatment of medical materials, and for laboratory processes. | 正常
NF C42-728-2001 | 测量、控制和试验室用电气设备的安全要求.第2-045部分:医疗、制药和试验室领域用洗涤设备消毒器具的特殊要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use - Part 2-045 : particular requirements for washer disinfectors used in medical, pharmaceutical, veterinary and laboratory fields. | 正常
NF X42-124-1998 | 生物技术.蒸气消毒器和高压灭菌器性能规范 (欧洲标准EN 12347) | Biotechnology. Performance criteria for steam sterilizers and autoclaves. | 正常
NF S98-007-2001 | 消毒器用非生物系统.第5部分:B型和S型小型消毒器的指示器系统和加工激发装置规范 | Non-biological systems for use in sterilizers - Part 5 : specification for indicator systems and process challenge devices for use in performance testing for small sterilizers Type B and Type S. | 正常
NF C42-726-1997 | 测量、控制和试验室用电气设备的安全要求.第2-043部分:医疗材料处理及试验室加工用热空气或用热惰性气体的干热消毒器的特殊要求 | Safety requirements for electrical equipment for measurement, control, and laboratory use. Part 2-043 : particular requirements for dry heat sterilizers using either hot air or inert gas for the treatment of medical materials, and for laboratory processes. | 正常
NF S98-020-2015 | 小型蒸汽灭菌器 | Small steam sterilizers | 正常
NF S98-040-1/A1-2014 | 清洗消毒器. 第1部分: 通用要求, 术语, 定义和试验 | Washer-disinfectors - Part 1 : general requirements, terms and definitions and tests | 正常
NF S98-015-2014 | 医用消毒器.环氧乙烷消毒器.试验方法和要求 | Sterilizers for medical purposes - Ethylene oxide sterilizers - Requirements and test methods | 正常
NF S98-012-2014 | 医用灭菌器.低温蒸汽和甲醛灭菌器.试验和要求 | Sterilizers for medical purposes - Low temperature steam and formaldehyde sterilizers - Requirements and testing | 正常
NF S98-040-2-2009 | 清洗消毒器.第2部分:对外科设备,麻醉设备,碗,碟,收集器,器皿,玻璃器具等进行热消毒的清洗消毒器的要求和测试 | Washer-disinfectors - Part 2 : requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. | 正常
NF S98-040-1-2009 | 清洗消毒器.第1部分:一般要求,术语,定义和试验 | Washer-disinfectors - Part 1 : general requirements, terms and definitions and tests. | 正常
GB/T 35267-2017 | 内镜清洗消毒器 |  | 正常
GB 4793.8-2008 | 测量、控制和实验室用电气设备的安全要求 第2-042部分:使用有毒气体处理医用材料及供实验室用的压力灭菌器和灭菌器的专用要求 | Safety requirements for electrical equipment for measurement,control,and laboratory use Part 2-042：Particular requirements for autoclaves and sterilizers using toxic gas for the treatment of medical materials,and for laboratory | (作废)
GB 8599-2008 | 大型蒸汽灭菌器技术要求.自动控制型 | Technical requirements for large steam sterilizers.Automatic type | 正常
GB 15979-2002 | 一次性使用卫生用品卫生标准 | Hygienic standard for disposable sanitary products | 正常
YY/T 1495-2016 | 清洗消毒效果的微生物验证方法 | Microbiological test method for demonstrating cleaning and disinfecting efficacy | 正常
YY/T 0734.4-2016 | 清洗消毒器 第4部分:对非介入式等医疗器械进行湿热消毒的清洗消毒器要求和试验 | Washer-disinfectors.Part 4:Requirements and tests for washer-disinfectors employing thermal disinfection for non-invasive medical devices, etc. | 正常
YY/T 1309-2016 | 清洗消毒器 超声清洗的要求和试验 | Washer-disinfectors.Requirement and test of ultrasonic wash | 正常
YY 1275-2016 | 热空气型干热灭菌器 | Dry heat (heated air) sterilizers | 正常
YY 1007-2010 | 立式蒸汽灭菌器 | Vertical mode steam sterilizers | (作废)
YY/T 0734.3-2009 | 清洗消毒器 第3部分:对人体废弃物容器进行湿热消毒的清洗消毒器 要求和试验 | Washer-disinfector--Part 3:Requirements and tests for washer-disinfectors employing thermal disinfection for human waste cintainers | 正常
YY/T 0734.2-2009 | 清洗消毒器 第2部分:对外科和麻醉器械等进行湿热消毒的清洗消毒器 要求和试验 | Washer-disinfectors--Part 2:Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments,anaestetic equipment,ect. | 正常
YY/T 0734.1-2009 | 清洗消毒器 第1部分:通用要求、术语定义和试验 | Washer-disinfectors--Part 1:General requirements,terms and definitions and tests | (作废)
YY 0731-2009 | 大型蒸汽灭菌器.手动控制型 | Large steam sterilizers.Manual control type | 正常
YY 0646-2008 | 小型蒸汽灭菌器 自动控制型 | Small steam sterilizers--Automatic type | (作废)
YY 0215-2008 | 医用臭氧消毒柜 | Medicinal ozone disinfecting cabinets | (作废)
YY 0679-2008 | 医用低温蒸汽甲醛灭菌器 | Sterilizers for medical purposes-Low temperature steam and formaldehyde sterilizers-Requirements and testing | (作废)
YY 1007-2005 | 立式压力蒸汽灭菌器 | Vertical mode steam sterilizers | (作废)
YY 0504-2005 | 手提式压力蒸汽灭菌器 | Portable mode steam sterilizers | (作废)
JB 20001-2003 | 大容量注射剂、小容量注射剂灭菌器 | Sterilizer of large capacity infusion and small capacity infusion | (作废)