## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
SJ 30044-2019 | 目标可见光反射亮度室内测量方法 |  | 正常
JJF 1889-2020 | 医用硬拷贝照相机校准规范 |  | 正常
JJF (纺织) 089-2020 | 棉纤维长度照影仪校准规范 |  | 正常
JJF (纺织) 039-2020 | 棉纤维偏光成熟度仪校准规范 |  | 正常
JJF 1807-2020 | 光谱总辐射通量灯校准规范 |  | 正常
JJF 1804-2020 | 布拉格光纤光栅传感网格分析仪校准规范 |  | 正常
JJF 1814-2020 | 雾度片校准规范 |  | 正常
JJG (铁道) 150-2020 | 接触网几何参数测量仪检定规程 |  | 正常
JJF 1836-2020 | 微量分光光度计校准规范 |  | 正常
JJF 1819-2020 | 医用显微图像测量分析仪校准规范 |  | 正常
JJF 1818-2020 | 拉曼光谱仪校准装置校准规范 |  | 正常
JJF 1809-2020 | 逆反射测量仪校准规范 |  | 正常
JJF 1793-2020 | 海水营养盐测量仪校准规范 |  | 正常
JJF 1796-2020 | 逆反射标准器校准规范 |  | 正常
JJF 1765-2019 | 紫外辐射照度计型式评价大纲 |  | 正常
JJF 1754-2019 | 氘灯光谱辐射亮度氘灯(250nm～400nm)校准规范 |  | 正常
JJF 1747-2019 | 车身反光标识用逆反射系数测量仪校准规范 |  | 正常
JJF 1773-2019 | 综合验光仪型式评价大纲 |  | 正常
JJF 1755-2019 | 无源光网格(PON)功率计校准规范 |  | 正常
JJF 1750-2019 | 红外标准滤光器校准规范 |  | 正常
JJF 1825-2020 | 麦氏细菌浊度分析仪校准规范 |  | 正常
JJF 1291-2019 | 验光仪型式评价大纲 |  | 正常
ASTM E2387-2005(2011) | 测角光学散射量的标准实施规程 | Standard Practice for Goniometric Optical Scatter Measurements | 正常
ASTM D1535-2014(2018) | 孟塞尔系统规定颜色的标准实施规程 | Standard Practice for Specifying Color by the Munsell System | 正常
ASTM E1918-2016 | 现场测量水平面和低斜度表面太阳反射率的标准试验方法 | Standard Test Method for Measuring Solar Reflectance of Horizontal and Low-Sloped Surfaces in the Field | 正常
ASTM F1252-2016 | 测量透明材料光学反射率的标准试验方法 | Standard Test Method for Measuring Optical Reflectivity of Transparent Materials | 正常
ASTM E2387-2005(2011) | 测角光学散射量的标准实施规程 | Standard Practice for Goniometric Optical Scatter Measurements | 正常
ASTM D1535-2014(2018) | 孟塞尔系统规定颜色的标准实施规程 | Standard Practice for Specifying Color by the Munsell System | 正常
ASTM E1918-2016 | 现场测量水平面和低斜度表面太阳反射率的标准试验方法 | Standard Test Method for Measuring Solar Reflectance of Horizontal and Low-Sloped Surfaces in the Field | 正常
ASTM F1252-2016 | 测量透明材料光学反射率的标准试验方法 | Standard Test Method for Measuring Optical Reflectivity of Transparent Materials | 正常
ISO 13321-1996 | 粒度分析 相关光子光谱学 | Particle size analysis - Photon correlation spectroscopy | 正常
ISO/CIE 19476-2014 | 照度计和亮度计的性能特征 | Characterization of the performance of illuminance meters and luminance meters | 正常
ISO 9334-2012 | 光学和光子学.光的传递函数.定义和数学关系 | Optics and photonics - Optical transfer function - Definitions and mathematical relationships | 正常
NF T36-007-1-2019 | 比色测量. 第1部分: CIE标准色度观测仪 | Colorimetry - Part 1 : CIE standard colorimetric observers | 正常
NF T36-007-4-2019 | 比色测量. 第4部分: CIE 1976 L*a*b*色空间 | Colorimetry - Part 4 : CIE 1976 L*a*b*colour space | 正常
NF T36-007-3-2019 | 比色法. 第3部分: CIE三色值 | Colorimetry - Part 3 : CIE tristimulus values | 正常
JJF (石化) 012-2018 | 黑白格玻璃板校准规范 |  | 正常
JJG(煤炭) 5-1988 | 光干涉原理甲烷测定器检定规程 |  | 正常
JJG(教委) 14-1992 | 金相显微镜检定规程 |  | 正常
JJG(教委) 13-1992 | 高温显微镜检定规程 |  | 正常
JJG(教委) 03-1992 | 色谱-质谱-联用仪检定规程 |  | 正常
JJG(教委) 02-1992 | 激光拉曼光谱仪检定规程 |  | 正常
JJG(教委) 01-1992 | 傅立叶变换红外光谱仪检定规程 |  | 正常
JJG(民航) 0066-2001 | RDX-7708型气象雷达测试仪 | RDX-7708 Weather Radar Test Set | 正常
JJG(建材) 134-1999 | 点光源检测装置 |  | 正常
JJG(机械) 88-1992 | 光纤探头比色计检定规程 |  | 正常
JJG(航空) 043-1989 | 原子吸收分光光度计检定规程 |  | 正常
JJG(核工) 4-1991 | 半导体望远镜(工作级)检定规程 |  | 正常
JJG(核工) 3-1991 | 闪烁望远镜(工作级)检定规程 |  | 正常
JJG(航天) 50-1988 | 工具显微镜检定规程 |  | 正常
JJG(航天) 49-1988 | 测微准直望远镜检定规程 |  | 正常
JJG(地质) 1015-1990 | 电感耦合等离子体直读光谱仪检定规程 |  | 正常
JJG(地质) 1013-1990 | 983C型红外分光光度计检定规程 |  | 正常
JJG(地质) 1012-1990 | 二米平面光栅摄谱仪检定规程 |  | 正常
JJG(地质) 1011-1990 | 一米平面光栅摄谱仪检定规程 |  | 正常
JJG(地质) 1010-1990 | 测微光度计检定规程 |  | 正常
JJG(地质) 1003-1990 | 原子荧光光度计检定规程 |  | 正常
JJG(地质) 1002-1990 | 紫外/可见分光光度计检定规程 |  | 正常
JJG(地质) 1001-1990 | 原子吸收分光光度计检定规程 |  | 正常
JJG (通信) 040-2018 | 光衰减器检定规程 |  | 正常
BS ISO/CIE 19476-2014 | 照度计和亮度计的性能特征 | Characterization of the performance of illuminance meters and luminance meters | 正常
BS EN 16237-2013 | 不连续光辐射非电光源的分类 | Classification of non-electrical sources of incoherent optical radiation | 正常
BS ISO 4037-3-1999 | 校准剂量仪和剂量率仪及确定其光子能量响应的X 和γ标准辐射.场所剂量仪和个人剂量仪的校准及其能量响应和角响应的确定 | X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Calibration of area and personal dosemeters and the measurement of their response as a function of energy and angle of incidence | 正常
BS ISO 4037-2-1998 | 校准剂量计和剂量强度计及测定作为光子能函数灵敏度用X和γ基准放射线.能量范围在8 KeV-1,3 MeV和4 MeV-9 MeV放射保护用放射量测定 | X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Dosimetry for radiation protection over the energy ranges 8 keV to 1, 3 MeV and 4 MeV to 9 MeV | 正常
BS ISO 23539-2006 | 光度测量法.物理光度测量法的CIE系统 | Photometry - The CIE system of physical photometry | 正常
BS ISO 4037-1-1998 | 校准剂量计和剂量强度计及测定作为光子能函数灵敏度用X和γ基准放射线.第1部分:放射特性和产生方法 | X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy - Radiation characteristics and production methods | 正常
BS ISO 17166-2000 | 红斑参考作用光谱和标准红斑剂量 | Erythema reference action spectrum and standard erythema dose | 正常
ANSI/TAPPI T1217 sp-2012 | 光学特性仪器的光度测量线性 | Photometric linearity of optical properties instruments | 正常
ANSI/TAPPI T1215 sp-2012 | 仪器色差测定 | The determination of instrumental color differences | 正常
IEC/TR 62732-2012 | 显色和相关色温标示用三位码 | Three-digit-code for designation of colour rendering and correlated colour temperature | 正常
DIN 5032-8-2017 | 测光法.第8部分:照度计用数据表 | Photometry - Part 8: Data-sheet for illuminance meters | 正常
DIN 5032-7-2017 | 光度测量法.第7部分:光照度计和光通量计的分类 | Photometry - Part 7: Classification of illuminance meters and luminance meters | 正常
DIN 5032-9-2015 | 光度测定. 第9部分: 非相干发射的半导体光源的光度量的测量 | Photometry - Part 9: Measurement of the photometric quantities of incoherent emitting semiconductor light sources | 正常
DIN 5032-4-1999 | 光测量.第4部分:光源测量 | Photometry - Part 4: Measurement of luminaires | 正常
DIN 5030-1-1985 | 辐射的光谱测量.术语、量、特性参数 | Spectral measurement of radiation; terminology, quantities, characteristic values | 正常
DIN 5030-3-1984 | 辐射的光谱测量.光谱隔离.定义及特性 | Spectral measurement of radiation; spectral isolation; definitions and characteristics | 正常
DIN 5031 Beiblatt 1-2017 | 光辐射物理和照明工程. 补编1：数量、符号和单位索引；以及DIN 5031第1部分至第11部分主题索引 | Optical radiation physics and illumination Engineering - Supplement 1: Index of quantities, symbols and units; and subject index to DIN 5031 part 1 to part 11 | 正常
DIN V 5031-100-2009 | 光辐射物理学和照明工程.第100部分:人类视觉光线的非视觉影响.数量、符号和行动范围 | Optical radiation physics and illuminating engineering - Part 100: Non-visual effects of ocular light on human beings - Quantities, symbols and action spectra | 正常
DIN 5032-3-1976 | 光测量.气体光源的测量术语 | Photometry; terms of measurement on gas luminaires | 正常
DIN 5032-2-1992 | 光度测量.电灯照明和相关量值的测量 | Photometry; operation of electric lamps and measurement of the respective quantities | 正常
DIN 5032-1-1999 | 光度测量.第1部分:测量方法 | Photometry - Part 1: Methods of measurement | 正常
DIN 5030-5-1987 | 发射光的光谱测量.发射光的光谱测量用物理探测器.术语、特性值、选择准则 | Spectral measurement of radiation; physical detectors for spectral measurement of radiation; terminology, characteristic quantities, selection criteria | 正常
DIN 5030-2-1982 | 辐射的光谱测量.辐射源.选择标准 | Spectral measurement of radiation; radiation sources; selection criteria | 正常
DIN 5033-1-2009 | 比色法 第1部分:比色法的基本术语 | Colorimetry - Part 1: Basic terms of colorimetry | 正常
DIN EN 13363-2 Corrigendum 1-2007 | 装有玻璃窗的遮阳设备. 太阳能和光的透射率总量计算. 第2部分: 详细的计算方法. 英文版本DIN EN 13363-2: 2005-06勘误表1 | Solar protection devices combined with glazing-Calculation of total solar energy transmittance and light transmittance-Part 2:Detailed calculation method Corrigendum 1 to English version of DIN EN 13363-2:2005-06 | 正常
JIS Z8781-3-2016 | 比色测定法. 第3部分: CIE三色值 | Colorimetry -- Part 3: CIE tristimulus values | 正常
JIS Z8725-2015 | 光源温度分布及色温或相关色温的测量方法 | Methods for determining distribution temperature and colour temperature or correlated colour temperature of light sources | 正常
JIS Z8725 ERRATUM 1-2015 | 勘误 | ERRATUM | 正常
JIS Z9111-1988 | 道路照明 | Lighting for roads | 正常
JIS C6188-1999 | 测量光学衰减的试验方法 | Test methods of measuring optical attenuators | 正常
NF T36-007-5-2016 | 比色法.第5部分:CIE 1976 L*u*v*颜色空间和u',v'均匀色度比例图. | Colorimetry - Part 5 : CIE 1976 L*u*v*colour space and u', v' uniform chromaticity scale diagram | 正常
NF T36-007-3-2013 | 比色法.第3部分:CIE三色值 | Colorimetry - Part 3: CIE tristimulus values | 正常
NF T36-007-4-2011 | 比色测量.第4部分:CIE 1976 L*a*b*色空间. | Colorimetry - Part 4 : CIE 1976 L*a*b* Colour space. | 正常
NF T36-007-1-2011 | 比色测量.第1部分:CIE标准色度观测仪. | Colorimetry - Part 1 : CIE standard colorimetric observers. | 正常
NF T36-007-2-2011 | 比色法.第2部分:CIE标准光源. | Colorimetry - Part 2 : CIE standard illuminants. | 正常
GB/T 28873-2012 | 纳米颗粒生物形貌效应的环境扫描电子显微镜检测方法通则 | General guide of environmental scanning electron microscopy for biological effectes on topography induced by nanoparticles | 正常
GB/T 28872-2012 | 活细胞样品纳米结构的磁驱动轻敲模式原子力显微镜检测方法 | Testing method of magnetic lightly-striking mode atomic force microscope for nanotopography of living cells | 正常
GB/T 29421-2012 | 钒酸盐双折射光学单晶元件 | Vanadate birebringent crystal devices | 正常
GB/T 29190-2012 | 扫描探针显微镜漂移速率测量方法 | Measurement methods of drift rate of scanning probe microscope | 正常
GB/T 5700-2008 | 照明测量方法 | Measurement methods for lighting | 正常
GB/T 22453-2008 | 硼酸盐非线性光学单晶元件质量测试方法 | Non-linear optical borate crystal devices measuring method | 正常
GB/T 22452-2008 | 硼酸盐非线性光学单晶元件通用技术条件 | General technical condition of non-linear optical borate crystal devices | 正常
JJF 1622-2017 | 太阳电池校准规范:光电性能 | Calibration Specification for Solar Cells: Photoelectric Properties | 正常
JJF 1615-2017 | 太阳模拟器校准规范 | Calibration Specification for Solar Simulators | 正常
JJF 1605-2016 | 光照度计型式评价大纲 | Program of Pattern Evaluation of Illuminance Meters | 正常
JJF 1572-2016 | 辐射热计校准规范 | Calibration Specification for Radiation Fluxmeters | 正常
JJF 1546-2015 | 逆反射标准板校准规范 | Calibration Specification for Retroreflective Standard Plates | 正常
JJF 1544-2015 | 拉曼光谱仪校准规范 | Calibration Specification for Raman Spectrometers | 正常
JJF 1093-2015 | 投影仪校准规范 | Calibration Specification for Projectors | 正常
JJG (交通) 077-2015 | 车载式路面损坏视频检测系统检定规程 |  | 正常
JJF 1483-2014 | 滤纸式烟度计型式评价大纲 | Program of Pattern Evaluation of Filter-Type Smokemeters | (作废)
JJF (纺织) 055-2012 | 标准光源箱校准规范 | Calibration Specification for Standard Light Sources Boxes | 正常
JJG 950-2012 | 水中油分浓度分析仪检定规程 | Verification Regulation of Analyzers for Oil Content in Water | 正常
JJG 579-2010 | 验光镜片箱检定规程 | Verification Regulation of Trial Case Lenses | 正常
JJG (交通) 076-2010 | 车载式路面激光车辙仪检定规程 | Vehicle Bearing Road Laser Rut-meter | 正常
JJG (交通) 075-2010 | 车载式路面激光平整度仪检定规程 | Vehicle Bearing Road Laser Profilometer | 正常
JJG (交通) 101-2010 | 逆反射标准器检定规程 | Retroreflective Standard | 正常
JJG (铁道) 150-2009 | 接触网几何参数测量仪检定规程 |  | (作废)
JJG (交通) 076-2009 | 车载式路面激光车辙仪检定规程 |  | (作废)
JJG (交通) 075-2009 | 车载式路面激光平整度仪检定规程 |  | (作废)
JJG 1035-2008 | 通信用光谱分析仪检定规程 | Verification Regulation of Optical Spectrum Analyzers in Telecommunication | 正常
JJG 1034-2008 | 光谱光度计标准滤光器检定规程 | Verification Regulation of Reference Filter for Calibration Spectrophotometer | 正常
JJG 385-2008 | 总光通量标准荧光灯检定规程 | Verification Regulation of standard flourescent lamp of total luminous flux | 正常
JJG (交通) 079-2007 | 视频交通流检测器检定规程 | Verification Regulation of Video Traffic Detector | 正常
JJF 1172-2007 | 挥发性有机化合物光离子化检测仪校准规范 | Calibration Specification for Volatile Organic Compounds Photo Ionization Detectors | 正常
JJG 630-2007 | 火焰光度计检定规程 | Flame Photometer | 正常
JJG 863-2005 | V棱镜折射仪 | V - prism Refractometer | 正常
JJG 245-2005 | 光照度计 | Illuminance Meter | 正常
JJG 246-2005 | 发光强度标准灯 | Standard Lamp of Luminous Intensity | 正常
JJG 211-2005 | 亮度计 | Luminance Meter | 正常
JJG 571-2004 | 读数、测量显微镜 | Reading Microscope and Measuring Microscope | 正常
JJG 433-2004 | 比相仪 | Phase Comparators | 正常
JJG 101-2004 | 接触式干涉仪 | Contact - type Interferometers | 正常
JJG (交通) 059-2004 | 逆反射测量仪检定规程 | Verification Regulation of Retroreflectometer | 正常
JJG 452-2006 | 黑白密度片检定规程 | Verification Regulation of Black and White Step Tablet | 正常
JJG 1097-2014 | 综合验光仪(含视力表)检定规程 | Phoropters (Eye Chart Included) | 正常
JJF 1032-2005 | 光学辐射计量名词术语及定义 | Terminology and Derfinitions for Optical Radiation Measurements | 正常
JJG 739-2005 | 激光干涉仪 | Laser Interferometers | 正常
JJG 580-2005 | 焦度计 | Focimeters | 正常
JJG 677-2006 | 光干涉式甲烷测定器 | Interference Type Methane Measuring Device | 正常
JJG 249-2004 | 0.1mW～200W激光功率计 | 0.1mW～200W Laser Power Meters | 正常
JJG 2034-2005 | 发光强度计量器具 | Measuring Instruments for Luminous Intensity | 正常
JJG 2032-2005 | 光照度计量器具 | Measuring Instruments for Illuminance | 正常
JJF 1199-2008 | 通信用光衰减器校准规范 | Calibration Specification of Optical Attenuator for Telecommunications | 正常
JJF 1198-2008 | 通信用可调谐激光源校准规范 | Calibration Specification of Tunable Laser Source for Telecommunications | 正常
JJG 247-2008 | 总光通量标准白炽灯检定规程 | Verification Regulation of Standard Incandescent Lamp for Total Luminous Flux | 正常
JJF 1456-2014 | 通信用光偏振度测试仪校准规范 | Calibration Specification for Optical Degree of Polarization Meter for Telecommunications | 正常
JJG 1001-2005 | 机动车近光检测仪校准器 | Verification Regulation of Calibrators for Near Headlamp Tester of Motor Vehicle | (作废)
JJG 892-2005 | 验光机检定规程 |  | (作废)
JJG 880-2006 | 浊度计检定规程 | Verification Regulation of Turbidimeters | 正常
JJG 2083-2005 | 光谱辐射亮度、光谱辐射照度计量器具 | Measuring Instruments for Spectral Radiance and Spectral Irradiance | 正常
JJG 2069-2005 | 镜向光泽度计量器具 | Measuring Instruments for Specular Gloss | 正常
JJG 2029-2006 | 色度计量器具 | Measuring Instruments for Colorimetry | 正常
JJG 537-2006 | 荧光分光光度计 | Fluorescencs Spectrophotometer | 正常
JJF 1150-2006 | 光电探测器相对光谱响应度校准规范 | Calibration Specification for Relative Spectral Responsivity | 正常
JJF 1148-2006 | 角膜接触镜检测仪校准规范 | Calibration Specification for Test Devices of Contact Lenses | 正常
JJG 967-2001 | 机动车前照灯检测仪校准器检定规程 | Verification Regulation of Calibrators for Headlamp Tester of Motor Vehicle | (作废)
JJG 966-2001 | 手持式激光测距仪 |  | (作废)
JJG (化工) 201-1991 | 气相色谱仪检定规程 |  | 正常
JJG 581-1999 | 医用激光源检定规程 | Verification Regulation of Laser for Medicine | (作废)
JJG 580-1996 | 焦度计检定规程 |  | (作废)
JJG 579-1998 | 验光镜片箱检定规程 |  | (作废)
JJG (核工) 4-1991 | 半导体望远镜(工作级)检定规程 |  | 正常
JJG (核工) 3-1991 | 闪烁望远镜(工作级)检定规程 |  | 正常
JJG 453-1986 | 反射标准色板检定规程 |  | (作废)
JJG 452-1986 | 黑白标准密度片试行检定规程 |  | (作废)
JJG 45-1999 | 光学计检定规程 | Verification Regulation of Optimeter | 正常
JJG 981-2003 | 阿贝折射仪标准块检定规程 |  | (作废)
JJG 976-2002 | 透射式烟度计检定规程 |  | (作废)
JJG 2069-1990 | 镜向光泽度计量器具检定系统 |  | (作废)
JJG 705-2002 | 液相色谱仪检定规程 |  | (作废)
JJG 705-1990 | 实验室液相色谱仪 |  | (作废)
JJG 697-1990 | 镜向光泽度板检定规程 |  | (作废)
JJG 696-2002 | 镜向光泽度计和光泽度板检定规程 | Verification Regulation of Specular Gloss Meters and Gloss Plates | (作废)
JJG 696-1990 | 镜向光泽度计检定规程 |  | (作废)
JJG 2077-1990 | 摆锤式冲击能计量器具检定系统 | Verification Scheme of Measuring Instruments for Pendulum Impact Energy | 正常
JJG 959-2001 | 光时域反射计OTDR检定规程 | Verification Regulation of Optical Time Domain Reflectometer | 正常
JJG 958-2000 | 光传输用稳定光源检定规程 | Verification Regulation of Stabilized Laser Sources for Optical Transmit | 正常
JJG 950-2000 | 水中油份浓度分析仪检定规程 |  | (作废)
JJG 29-1991 | 平行平晶检定规程 |  | (作废)
JJG (铁道) 150-1994 | 接触导线高度和离中值光学测量仪检定规程 |  | (作废)
JJG 965-2001 | 通信用光功率计检定规程 |  | (作废)
JJG 963-2001 | 通信用光波长计检定规程 | Verification Regulation of Optical Wavelength Counters in Telecommunication | 正常
JJG 685-1990 | 光电探测器相对光谱响应度检定规程 |  | (作废)
JJG (机械) 88-1992 | 光纤探头比色计检定规程 |  | 正常
JJG 554-1988 | 彩色亮度计检定规程 |  | (作废)
JJG 941-1998 | 荧光亮度检测仪检定规程 |  | (作废)
JJG 925-1997 | 净全辐射表检定规程 |  | (作废)
JJG 923-1996 | 啤酒色度仪检定规程 |  | (作废)
JJG 293-1982 | 激光中功率计试行检定规程 |  | (作废)
JJG 2032-1989 | 光照度计量器具检定系统 |  | (作废)
JJG 2031-1989 | 曝光量计量器具检定系统 | Verification Scheme of Measuring Instruments for Light Exposure | 正常
JJG 2030-1989 | 色温度(分布温度)计量器具检定系统 | Verification Scheme of Measuring Instruments for Colour Temperature (Distribution Temperature) | 正常
JJG 2029-1989 | 色度计量器具检定系统 |  | (作废)
JJG 2028-1989 | 漫透射视觉密度(黑白密度)计量器具检定系统 | Verification Scheme of Measuring Instruments for Diffuse Transmission Visual Density | 正常
JJG 2027-1989 | 0.001～2.0特斯拉磁感应强度计量器具检定系统 | Verification Scheme of Measuring Instruments for 0.001～2.0 Tesla Magnization Intensity | 正常
JJG 2035-1989 | 总光通量计量器具检定系统 | Verification Scheme of Measuring Instruments for Total Luminous Flux | 正常
JJG 2034-1989 | 发光强度计量器具检定系统 |  | (作废)
JJG 2033-1989 | 光亮度计量器具检定系统 | Verification Scheme of Measuring Instruments for Luminance | 正常
JJG 414-2003 | 光学经纬仪检定规程 |  | (作废)
JJG 414-1994 | 光学经纬仪 |  | (作废)
JJG (轻工) 48-1990 | 反射光度计检定规程 |  | (作废)
JJG 772-1992 | 电子束辐射源(辐射加工用) | Verification Regulation of Electron Beam Radiation Source(for Radiation Processing) | (作废)
JJG 770-1992 | 柯氏干涉仪 |  | (作废)
JJG 768-1994 | 发射光谱仪 |  | (作废)
JJG (教委) 14-1992 | 金相显微镜检定规程 |  | (作废)
JJG (教委) 13-1992 | 高温显微镜检定规程 |  | (作废)
JJG (教委) 12-1992 | 透射电子显微镜检定规程 |  | (作废)
JJG (教委) 11-1992 | 扫描电子显微镜检定规程 |  | (作废)
JJG (教委) 07-1992 | 电感耦合等离子体原子发射光谱检定规程 |  | (作废)
JJG (教委) 03-1992 | 色谱-质谱-联用仪检定规程 |  | (作废)
JJG (教委) 02-1992 | 激光拉曼光谱仪检定规程 |  | (作废)
JJG (教委) 01-1992 | 傅立叶变换红外光谱仪检定规程 |  | (作废)
JJG (教委) 002-1996 | 激光喇曼光谱仪检定规程 | Verification Regulation for laser raman speciremeter | 正常
JJG (邮电) 045-1999 | 光波长/频率计检定规程 |  | (作废)
JJG (邮电) 040-1998 | 光衰减器检定规程 |  | (作废)
JJG 249-1981 | 激光小功率计试行检定规程 |  | (作废)
JJG 248-1981 | 工作标准激光小功率计试行检定规程 | Verification Regulation of Working Standard of Laser Power Meter in Low Range | 正常
JJG 247-1991 | 总光通量标准白炽灯检定规程 |  | (作废)
JJG 246-1991 | 发光强度标准灯 |  | (作废)
JJG 245-1991 | 光照度计 |  | (作废)
JJG 651-1990 | 医用固体激光源 |  | (作废)
JJG (机械) 116-1992 | 目镜焦距仪检定规程 |  | 正常
JJG (机械) 114-1992 | SP-428静电感光材料光电性能测试仪检定规程 |  | 正常
JJG 512-2002 | 白度计 | Verification Regulation of the Whiteness Meters | 正常
JJG 228-1993(2005) | 静态激光小角光散射光度计检定规程 |  | (作废)
JJG 512-1987 | 白度计检定规程 |  | (作废)
JJG 511-1987 | 微弱光照度计检定规程 | Verification Regulation of Low Light Level Illuminance Meter | 正常
JJG 756-1991 | 光楔密度工作基准装置检定规程 | Verification Regulation of Working Standard Equipment for Optical Density | 正常
JJG 755-1991 | 紫外辐射照度工作基准装置检定规程 | Verification Regulation of Working Standard Equipment for UV Irradiance | (作废)
JJG 754-1991 | 光学传递函数测量装置 |  | (作废)
JJG 745-2002 | 机动车前照灯检测仪检定规程 | Headlamp Testers for Motor Vehicle | (作废)
JJG 745-1991 | 汽车前照灯检测仪检定规程 |  | (作废)
JJG (教委) 001-1996 | 傅里叶变换红外光谱仪检定规程 | Verification Regulation for Fourier transform infrared spectrometer | 正常
JJG (交通) 046-2004 | 不透光烟度计检定规程 | Verification Regulation of Opacimeters | 正常
JJG 733-1991 | 总光通量工作基准灯检定规程 | Verification Regulation of Working Standard Lamps for Total Luminous Flux | 正常
JJG 732-1991 | 发光强度工作基准灯检定规程 |  | (作废)
JJG 213-1990 | 分布(颜色)温度标准灯检定规程 |  | (作废)
JJG 212-1990 | 色温表检定规程 |  | (作废)
JJG 211-1989 | 亮度计检定规程 |  | (作废)
JJG 2089-1990 | <上标60>Coγ射线辐射加工级水吸收剂量计量器具检定系统 | Verification Scheme of <上标60>Coγ-ray Water Absorbed Dose Measuring Instruments for Radiation Processing Level | 正常
JJG 2083-1990 | 光谱辐射亮度,光谱辐射照度计量器具检定系统 |  | (作废)
JJG 2082-1990 | 工频电流比例计量器具检定系统 | Verification Scheme of Measuring Instruments for Power Frequency Current Ratio | 正常
JJG 595-1989 | 测色色差计检定规程 |  | (作废)
JJG (地质) 1008-1990 | 离子色谱仪检定规程 |  | 正常
JJG (地质) 1006-1990 | 3080E型X射线荧光光谱仪检定规程 |  | 正常
JJG (地质) 1005-1990 | 激光铀分析仪检定规程 |  | 正常
JJG (地质) 1003-1990 | 原子荧光光度计检定规程 |  | 正常
JJG (地质) 1002-1990 | 紫外/可见分光光度计检定规程 |  | 正常
JJG (地质) 1001-1990 | 原子吸收分光光度计检定规程 |  | 正常
JJF 1322A-1990 | 250～2500 纳米光谱辐射亮度副基准操作技术规范 | Operating Technical Norm of Secondary Standard for Spectral Radiance in the Range of 250~2500nm | 正常
JJF 1321-1990 | 250～2500 纳米光谱辐射亮度和照度基准操作技术规范 | Operating Technical Norm of Primary Standard for Spectral and Irradiance in the Range of 250~2500nm | 正常
JJF 1320-1990 | 色温度副基准操作技术规范 | Operating Technical Norm for Secondary Standard of Distribution （Colour) Tenperature of Light Sources | 正常
JJF 1319-1990 | 色温度基准操作技术规范 | Operating Technical Norm of Cloour Temperature Primary Standard | 正常
JJF 1318-1990 | 亮度副基准操作技术规范 | Operating Technical Norm of Luminance secondary standard | 正常
JJF 1311B-1990 | 光度副基准操作技术规范 |  | 正常
JJF 1311A-1990 | 光度副基准操作技术规范 | Operating Technical Norm of Photemetric secondary standard | 正常
JJF 1310-1990 | 光度基准操作技术规范 | operating technical norm of primary standard for photometry | 正常
JJG 827-1993 | 分辨力板检定规程 | Verification Regulation of Resolution Target | 正常
JJG 813-1993 | 光纤光功率计检定规程 |  | (作废)
JJG 812-1993 | 干涉滤光片检定规程 | Verification Regulation of Interference Filter | 正常
JJG 312-1983 | 激光能量计检定规程 | Verification Regulation of Laser Energy Meter | 正常
JJG 311-1996 | 焦距仪检定规程 |  | (作废)
JJG (地质) 1017-1990 | 电子探针仪检定规程 |  | 正常
JJG (地质) 1016-1990 | 透射电子显微镜检定规程 |  | 正常
JJG (地质) 1015-1990 | 电感耦合等离子体直读光谱仪检定规程 |  | 正常
JJG (地质) 1013-1990 | 983C型红外分光光度计检定规程 |  | 正常
JJG 309-2001 | 500K～1000K黑体辐射源检定规程 |  | (作废)
JJG 305-1992 | 光学分度台 |  | (作废)
JJF 1317-1990 | 亮度基准操作技术规范 | Operating Technical Norm of Primary Standard for Luminance | 正常
JJF 1316-1990 | 10～0.000001勒克司弱光光度基准操作技术规范 | Operating Technical Norm of for Primary Standard of Low Light at the 10~10(-6)Lux | 正常
JJF 1315-1990 | 照度副基准操作技术规范 |  | 正常
JJF 1314-1990 | 照度基准操作技术规范 | Operating Technical Norm of Primary Standard for Ⅲumination | 正常
JJF 1313B-1990 | 总光通量副基准操作技术规范 | Operating Technical Norm of secondary Standard for Total Luminous Flux | 正常
JJF 1313A-1990 | 总光通量副基准操作技术规范 | Operating Technical Norm of Secondary Standard for Total Luminous Flux | 正常
JJF 1312-1990 | 总光通量基准操作技术规范 | Operating Technical Norm of Primary Standard for Total Luminous Flux | 正常
JJF 1311C-1990 | 光度副基准操作技术规范 | Operating Technical Norm of Second ary Standard for Luminous Intensity | 正常
JJG 299-1982 | 工作标准感光仪 | Verification Regulation of Working Standard Sensitometer | 正常
JJG (地质) 1012-1990 | 二米平面光栅摄谱仪检定规程 |  | 正常
JJG (地质) 1011-1990 | 一米平面光栅摄谱仪检定规程 |  | 正常
JJG (地质) 1010-1990 | 测微光度计检定规程 |  | 正常
JJG (轻工) 93-1992 | YWG-872型地毯染色牢度摩擦仪检定规程 |  | 正常
JJF 1032-1992 | 光学辐射计量名词及定义(试行) |  | (作废)
JJF 1026-1991 | 光子和高能电子束吸收剂量测定方法 | Absorbed Dose Determination in Photon and Electron Beams | (作废)
JJG 903-1995 | 激光标准衰减器检定规程 | Verification Regulation of Standard Attenuators for Laser | 正常
JJG 892-1995 | 验光机 |  | (作废)
JJG (航天) 15-1985 | LZ3系列函数记录仪检定规程 |  | 正常
JJG (航天) 14-1985 | JM1600传递函数分析仪检定规程 |  | 正常
JJG (航空) 044-1989 | 单扫描示波极谱仪检定规程 |  | 正常
JJG (航空) 043-1989 | 原子吸收分光光度计检定规程 |  | 正常
JJG 386-1985 | 总光通量标准荧光高压汞灯试行检定规程 | Verification Regulation of Standard Fluorescent High Pressure Mercury Vapour Lamps for Totel Lumious Flux | 正常
JJG 385-1985 | 总光通量标准荧光灯试行检定规程 |  | (作废)
JJG 384-2002 | 光谱辐射照度标准灯 | Verification Regulation of Spectral Irradiance Standard Lamps | 正常
JJG 384-1985 | 光谱辐射照度标准灯试行检定规程 |  | (作废)
JJG 383-2002 | 光谱辐射亮度标准灯 | Verification Regulation of Spectral Radiance Standard Lamps | 正常
JJG 383-1985 | 光谱辐射亮度标准灯试行检定规程 |  | (作废)
JJG 920-1996 | 漫透射视觉密度计检定规程 | Verification Regulation of Diffuse Transmission Visual Densitometer | (作废)
JJG 917-1996(2005) | 棉花测色仪检定规程 |  | 正常
JJF 1362-1994 | 顶焦度计量基准操作技术规范 | Operating Technical Norm of Vertex Power Primary Standard of measurement | 正常
JJG 867-1994 | 光谱测色仪检定规程 | Verification Regulation of Spectrocolorimeter | 正常
JJG 866-1994 | 顶焦度标准镜片 |  | (作废)
JJG 864-1994 | 旋光标准石英管检定规程 | Verification Regulation of Quartz Control Plate | 正常
JJG 863-1994 | V棱镜折射仪 |  | (作废)
JJF 1326-1990 | 30～300瓦激光功率基准操作技术规范 | Operating Technical Norm of Primary Standard for Laser at 30~300w | 正常
JJF 1325-1990 | 曝光量基准操作技术规范 | Operating Technical Norm of Primary Standard for Light Exposure | 正常
JJF 1324-1990 | 漫透射视觉密度基准操作技术规范 | Operating Technical Norm of Primary Standard for Visual Diffuse Transmission Density | 正常
JJF 1323-1990 | 色度基准操作技术规范 | Operating Technical Norm of Chromaticity Primary Standard | 正常
JJF 1322B-1990 | 250～2500 纳米光谱辐射照度副基准操作技术规范 | Operating Technical Norm of Secondary Standard for Spectral Radiance in the Range of 250~2500nm | 正常
JJF 1335-1990 | 800～2000 纳米光谱反射比副基准操作技术规范 | Operating Technical Norm of Secondary Standard for Spectral Reflectance in the Range of 800~2000 nm | 正常
JJF 1334-1990 | 镜向光泽度基准操作技术规范 | Operating Technical Norm of Specular Gloss Primary Standard | 正常
JJF 1333-1990 | 500～1000 K全辐照基准操作技术规范 | Operating Technical Norm of the Blackbody Primary Standard of Total Irradiance at the 500~1000K | 正常
JJF 1332-1990 | 激光能量副基准操作技术规范 | Operating Technical Norm of Secondary Standard of laser Energy | 正常
JJF 1331-1990 | 1～40 焦耳激光能量基准操作技术规范 | Operating Technical Norm of Primary Standard of Laser Energy at 1~40J | 正常
JJF 1330-1990 | 0.1～100 毫瓦激光功率副基准操作技术规范 | Operating Technical Norm of Secondary Standard of Laser Power | 正常
JJF 1329-1990 | 0.1～100 毫瓦激光功率基准操作技术规范 | Operating Technical Norm of Primary Standard for Laser Power at 0.1～100 mW | 正常
JJF 1328-1990 | 1～30 瓦激光功率副基准操作技术规范 | Operating Technical Norm of Secondary Standard of Lser Power in the Middle Level | 正常
JJF 1327-1990 | 0.1～30 瓦激光功率基准操作技术规范 | Operating Technical Norm of Primary Standard for Laser Power at 0.1~30w | 正常
JJG (纺织) 049-1991 | 棉纤维偏光成熟度仪检定规程 |  | (作废)
JJG 342-1993(2005) | 凝胶色谱仪检定规程 |  | (作废)
JJF 1115-2004 | 光电轴角编码器校准规范 | Calibration Specification for Photoelectric Shaft Encoders | 正常
JJF 1114-2004 | 光学、数显分度台校准规范 | Calibration Specification for Optical & Digital Dividing Tables | 正常
JJG (电子) 10001-1988 | 微光功率计(试行) |  | 正常
JJF 1092-2002 | 光切显微镜校准规范 | Calibration Specification for Light Section Microscopes | 正常
JJF 1083-2002 | 光学倾斜仪校准规范 | Calibration Specification for Optical Clinometers | 正常
JJF 1079-2002 | 阴极射线管彩色分析仪校准规范 | Calibration Specification for Cathode Ray Tube(CRT)Color Analyzers | 正常
JJF 1106-2003 | 眼镜产品透射比测量装置校准规范 | Calibration Specification for Transmittance Measuring Equipment for Ophthalmic Products | 正常
JJF 1078-2002 | 光学测角比较仪校准规范 | Calibration Specification for Optical Comparators for Angle Measurements | 正常
JJF 1077-2002 | 测微准直望远镜校准规范 | Calibration Specification for Micro-alignment Telescopes | 正常
JJG 998-2005 | 激光小角度测量仪 | Laser Measuring Instruments for Small Angles | 正常
JJG (轻工) 66-2000 | 纸张光泽度计检定规程 |  | 正常
JJG (轻工) 48-2000 | 反射光度计检定规程 |  | 正常
JJG (交通) 077-2007 | 车载式路面激光视频病害检测系统检定规程 | Verification Regulation of Vehicle bearing road laser video distress detecting system | (作废)
JJG (交通) 076-2007 | 车载式路面激光车辙仪检定规程 |  | (作废)
JJG (交通) 075-2007 | 车载式路面激光平整度仪检定规程 |  | (作废)