## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
BS ISO 19967-1-2019 |  | Heat pump water heaters. Testing and rating for performance. Heat pump water heater for hot water supply | 正常
ISO 14903-2017 | 制冷系统和热泵.元件和接头紧密性限制条件 | Refrigerating systems and heat pumps - Qualification of tightness of components and joints | 正常
ISO 15042-2017 | 多重分离系统空调机和空对空热泵.性能额定值的测试 | Multiple split-system air conditioners and air-to-air heat pumps - Testing and rating for performance | 正常
ISO 5151-2017 | 无管空调和热泵.性能评定和试验 | Non-ducted air conditioners and heat pumps - Testing and rating for performance | 正常
ISO 13253-2017 | 通风空调与空对空热泵.性能试验与定级 | Ducted air-conditioners and air-to-air heat pumps - Testing and rating for performance | 正常
ISO 13971-2012 | 制冷系统和热泵.软管元件,隔振器,伸缩接头和非金属管.要求和分类 | Refrigeration systems and heat pumps - Flexible pipe elements, vibration isolators, expansion joints and non-metallic tubes - Requirements and classification | 正常
ISO 13261-2-1998 | 空调和空气源热泵设备的声功率额定值 第2部分:无室内管道设备 | Sound power rating of air-conditioning and air-source heat pump equipment - Part 2: Non-ducted indoor equipment | 正常
ISO 13261-1-1998 | 空调和空气源热泵设备的声功率额定值 第1部分:无室外管道设备 | Sound power rating of air-conditioning and air-source heat pump equipment - Part 1: Non-ducted outdoor equipment | 正常
ISO 13256-1-1998 | 水源热泵 性能试验和额定功率 第1部分:水-气和盐水-气热泵 | Water-source heat pumps - Testing and rating for performance - Part 1: Water-to-air and brine-to-air heat pumps | 正常
ISO 13256-2-1998 | 水源热泵 性能试验和额定功率 第2部分:水-水和盐水-水热泵 | Water-source heat pumps - Testing and rating for performance - Part 2: Water-to-water and brine-to-water heat pumps | 正常
ISO 19967-1-2019 |  | Heat pump water heaters - Testing and rating for performance - Part 1: Heat pump water heater for hot water supply | 正常
ISO 18326-2018 |  | Non-ducted portable air-cooled air conditioners and air-to-air heat pumps having a single exhaust duct - Testing and rating for performance | 正常
ISO 5149-1 AMD 1-2015 | 制冷系统和热泵. 安全与环境要求. 第1部分: 定义, 分类和选择标准. 修改件1: QLAV, QLMV的修正 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1: Definitions, classification and selection criteria - Amendment 1: Correction of QLAV, QLMV | 正常
ISO 17628-2015 | 岩土工程勘察和测试. 地热试验. 使用钻孔换热器测定土壤和岩石的导热系数 | Geotechnical investigation and testing - Geothermal testing - Determination of thermal conductivity of soil and rock using a borehole heat exchanger | 正常
ISO 16494-2014 | 热回收通风机和能量回收装置. 性能的试验方法 | Heat recovery ventilators and energy recovery ventilators - Method of test for performance | 正常
ISO 5149-3-2014 | 制冷系统和热泵. 安全与环境要求. 第3部分: 安装地点 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 3: Installation site | 正常
ISO 16345-2014 | 水冷塔. 热性能的试验和评级 | Water-cooling towers - Testing and rating of thermal performance | 正常
ISO 5149-4-2014 | 制冷系统和热泵. 安全与环境要求. 第4部分: 操作, 维护, 修理和恢复 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4: Operation, maintenance, repair and recovery | 正常
ISO 5149-2-2014 | 制冷系统和热泵. 安全与环境要求. 第2部分: 设计, 建设, 试验, 标记和文档 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 2: Design, construction, testing, marking and documentation | 正常
ISO 5149-1-2014 | 制冷系统和热泵. 安全与环境要求. 第1部分: 定义, 分类和选择标准 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1: Definitions, classification and selection criteria | 正常
ISO 13612-2-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 第2部分: 能量计算 | Heating and cooling systems in buildings - Method for calculation of the system performance and system design for heat pump systems - Part 2: Energy calculation | 正常
ISO 13612-1-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 第1部分: 设计和尺寸计算 | Heating and cooling systems in buildings - Method for calculation of the system performance and system design for heat pump systems - Part 1: Design and dimensioning | 正常
ISO 16358-1 CORR 1-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.第1部分:冷却季节性性能因素.技术勘误表1 | Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors - Part 1: Cooling seasonal performance factor; Technical Corrigendum 1 | 正常
ISO 16358-2 CORR 1-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.第2部分:加热季节性能因素.技术勘误表1 | Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors - Part 2: Heating seasonal performance factor; Technical Corrigendum 1 | 正常
ISO 16358-3-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.第3部分:年度性能因素 | Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors - Part 3: Annual performance factor | 正常
ISO 16358-1-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.第1部分:冷却季节性性能因素 | Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors - Part 1: Cooling seasonal performance factor | 正常
ISO 16358-2-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.第2部分:加热季节性性能系数 | Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors - Part 2: Heating seasonal performance factor | 正常
ISO/TS 16491-2012 | 测量空调和热泵冷却和热容量试验的不确定性评价指南 | Guidelines for the evaluation of uncertainty of measurement in air conditioner and heat pump cooling and heating capacity tests | 正常
NF S31-121-2-2019 |  | Air conditioners, liquid chilling packages, heat pumps, process chillers and dehumidifiers with electrically driven compressors - Determination of the sound power level - Part 2 : heat pump water heaters | 正常
NF D35-350-6-2018 | 生产热水的燃气家庭用具. 第6部分: 吸附和自吸式热泵能耗的评估 | Gas-fired domestic appliance producing hot water - Part 6 : assessment of energy consumption of ad-sorption and ab-sorption heat pumps | 正常
NF D35-350-6-2018 | 生产热水的燃气家庭用具. 第6部分: 吸附和自吸式热泵能耗的评估 | Gas-fired domestic appliance producing hot water - Part 6 : assessment of energy consumption of ad-sorption and ab-sorption heat pumps | 正常
BS ISO 18326-2018 | 无导管便携式空气冷却空调器和单排气管空气-空气热泵. 性能测试和评级 | Non-ducted portable air-cooled air conditioners and air-to-air heat pumps having a single exhaust duct. Testing and rating for performance | 正常
EN 14511-3-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第3部分: 试验方法; 德文版本EN 14511-3:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 3: Test methods; German version EN 14511-3:2018 | 正常
EN 14511-1-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第1部分: 术语和定义; 德文版本EN 14511-1:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 1: Terms and definitions; German version EN 14511-1:2018 | 正常
EN 14511-2-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第2部分: 试验条件; 德文版本EN 14511-2:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 2: Test conditions; German version EN 14511-2:2018 | 正常
EN 14511-4-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第4部分: 要求; 德文版本EN 14511-4:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 4: Requirements; German version EN 14511-4:2018 | 正常
NF E38-116-4-2018 | 带电驱动压缩机的空间加热、冷却和工艺冷却用空调、液体冷却组件和热泵. 第4部分: 要求 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 4 : requirements | 正常
NF E38-116-3-2018 | 带电驱动压缩机的空间加热、冷却和工艺冷却用空调、液体冷却组件和热泵. 第3部分: 试验方法 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 3 : test methods | 正常
NF E38-116-2-2018 | 带电驱动压缩机的空间加热、冷却和工艺冷却用空调、液体冷却组件和热泵. 第2部分: 试验条件 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 2 : test conditions | 正常
NF E38-116-1-2018 | 带电驱动压缩机的空间加热、冷却和工艺冷却用空调、液体冷却组件和热泵. 第1部分: 术语和定义 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 1 : terms and definitions | 正常
NF S31-121-1-2017 | 空调、液冷组件、热泵、过程冷却器和带有电动压缩机的除湿器. 声功率级的确定. 第1部分: 空调、液冷组件、用于空间加热和冷却的热泵、除湿器和过程冷却器 | Air conditioners, liquid chilling packages, heat pumps, process chillers and dehumidifiers with electrically driven compressors - Determination of the sound power level - Part 1 : air conditioners, liquid chilling packages, heat pumps for space heating and cooling, dehumidifiers and process chillers | 正常
EN 12102-1-2017 | 空调、液冷组件、热泵、过程冷却器和带电动压缩机的除湿器. 声功率级的测定. 第1部分：空调、液冷组件、用于空间加热和冷却的热泵、除湿器和过程冷却器；德文版本EN 12102-1:2017 | Air conditioners, liquid chilling packages, heat pumps, process chillers and dehumidifiers with electrically driven compressors - Determination of the sound power level - Part 1: Air conditioners, liquid chilling packages, heat pumps for space heating and cooling, dehumidifiers and process chillers; German version EN 12102-1:2017 | 正常
EN 378-4/A1-2017 | 制冷系统和热泵. 安全和环境要求. 第4部分：操作、维护、修理和恢复；德文和英文版本EN 378-4:2016/prA1:2017 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4: Operation, maintenance, repair and recovery; German and English version EN 378-4:2016/prA1:2017 | 正常
BS EN 14511-1-2018 | 用于空间加热和冷却的空调、液体冷却组件和热泵以及带电动压缩机的工艺冷却器. 术语和定义 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors. Terms and definitions | 正常
BS EN 14511-3-2018 | 用于空间加热和冷却的空调、液体冷却组件和热泵以及带电动压缩机的工艺冷却器. 试验方法 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors. Test methods | 正常
BS EN 14511-2-2018 | 用于空间加热和冷却的空调、液体冷却组件和热泵以及带电动压缩机的工艺冷却器. 试验条件 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors. Test conditions | 正常
BS EN 14511-4-2018 | 用于空间加热和冷却的空调、液体冷却组件和热泵以及带电动压缩机的工艺冷却器. 要求 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors. Requirements | 正常
BS EN 12102-1-2017 | 空调、液冷组件、热泵、过程冷却器和带有电动压缩机的除湿器. 声功率级的确定. 空调、液冷组件、用于空间加热和冷却的热泵、除湿器和过程冷却器 | Air conditioners, liquid chilling packages, heat pumps, process chillers and dehumidifiers with electrically driven compressors. Determination of the sound power level. Air conditioners, liquid chilling packages, heat pumps for space heating and cooling, dehumidifiers and process chillers | 正常
DIN EN 12102-1-2018 | 空调、液冷组件、热泵、过程冷却器和带电动压缩机的除湿器. 声功率级的测定. 第1部分：空调、液冷组件、用于空间加热和冷却的热泵、除湿器和过程冷却器；德文版本EN 12102-1:2017 | Air conditioners, liquid chilling packages, heat pumps, process chillers and dehumidifiers with electrically driven compressors - Determination of the sound power level - Part 1: Air conditioners, liquid chilling packages, heat pumps for space heating and cooling, dehumidifiers and process chillers; German version EN 12102-1:2017 | 正常
DIN EN 14511-3-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第3部分: 试验方法; 德文版本EN 14511-3:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 3: Test methods; German version EN 14511-3:2018 | 正常
DIN EN 14511-1-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第1部分: 术语和定义; 德文版本EN 14511-1:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 1: Terms and definitions; German version EN 14511-1:2018 | 正常
DIN EN 14511-2-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第2部分: 试验条件; 德文版本EN 14511-2:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 2: Test conditions; German version EN 14511-2:2018 | 正常
DIN EN 14511-4-2018 | 带电驱动压缩机的空间加热、冷却和过程冷却用空调、液体冷却组件和热泵. 第4部分: 要求; 德文版本EN 14511-4:2018 | Air conditioners, liquid chilling packages and heat pumps for space heating and cooling and process chillers, with electrically driven compressors - Part 4: Requirements; German version EN 14511-4:2018 | 正常
DIN EN 378-1-2018 | 制冷系统和热泵.安全性和环境要求.第1部分:基本要求,定义,分类和选择标准.德文版本EN 378-1-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1: Basic requirements, definitions, classification and selection criteria; German version EN 378-1:2016 | 正常
DIN EN 378-2-2018 | 制冷系统和热泵.安全性和环境要求.第2部分:设计,建造,试验,标志和文件.德文版本EN 378-2-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 2: Design, construction, testing, marking and documentation; German version EN 378-2:2016 | 正常
IEC 60335-2-40-2018 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求 | Household and similar electrical appliances - Safety - Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
NF E35-610-4-2018 | 燃气吸热式发动机驱动的热泵. 第4部分: 试验方法 | Gas-fired endothermic engine driven heat pumps - Part 4 : test methods | 正常
NF E35-610-1-2018 | 燃气吸热式发动机驱动的热泵. 第1部分: 术语和定义 | Gas-fired endothermic engine driven heat pumps - Part 1 : terms and definitions | 正常
NF E35-600-2-2018 | 净热输入不超过70kW的加热和/或冷却用燃气吸附器件.第2部分:安全性 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 2 : safety | 正常
BS ISO 16494-2014 | 热回收通风机和能量回收装置. 性能的试验方法 | Heat recovery ventilators and energy recovery ventilators. Method of test for performance | 正常
BS EN 12309-1-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 术语和定义 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Terms and definitions | 正常
BS EN 12309-5-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 要求 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Requirements | 正常
BS EN 12309-4-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 试验方法 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Test methods | 正常
BS EN 12309-3-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 试验条件 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Test conditions | 正常
BS EN 12309-7-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 混合燃料器具的特殊要求 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Specific provisions for hybrid appliances | 正常
BS EN 12309-6-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 季节性性能的计算 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Calculation of seasonal performances | 正常
BS ISO 13612-2-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 能量计算 | Heating and cooling systems in buildings. Method for calculation of the system performance and system design for heat pump systems. Energy calculation | 正常
BS ISO 16345-2014 | 水冷却塔. 热性能测试和评价 | Water-cooling towers. Testing and rating of thermal performance | 正常
BS ISO 5149-2-2014 | 制冷系统和热泵. 安全和环境要求. 设计, 建设, 试验, 标记和文档 | Refrigerating systems and heat pumps. Safety and environmental requirements. Design, construction, testing, marking and documentation | 正常
BS ISO 5149-3-2014 | 制冷系统和热泵. 安全和环境要求. 安装地点 | Refrigerating systems and heat pumps. Safety and environmental requirements. Installation site | 正常
BS ISO 5149-1-2014 | 制冷系统和热泵. 安全和环境要求. 定义, 分类和选择标准 | Refrigerating systems and heat pumps. Safety and environmental requirements. Definitions, classification and selection criteria | 正常
BS ISO 13612-1-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 设计和尺寸 | Heating and cooling systems in buildings. Method for calculation of the system performance and system design for heat pump systems. Design and dimensioning | 正常
BS EN 12102-2013 | 空间加热和制冷用带电动压缩机的空调, 液体冷却包和热泵. 气载噪声测量. 声功率级测定 | Air conditioners, liquid chilling packages, heat pumps and dehumidifiers with electrically driven compressors for space heating and cooling. Measurement of airborne noise. Determination of the sound power level | 正常
BS EN 14511-4-2013 | 空间加热和冷却用带电驱动压缩机的空调、液体冷却包和热泵.运行要求、标记和说明 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling. Operating requirements, marking and instructions | 正常
BS EN 13136-2013 | 制冷系统和热泵. 压力释放设备及相关管道. 计算方法 | Refrigerating systems and heat pumps. Pressure relief devices and their associated piping. Methods for calculation | 正常
BS EN 14511-3-2013 | 空间加热和制冷用带电驱动压缩机的空调、液体冷却包和热泵.试验方法 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling. Test methods | 正常
BS EN 14511-2-2013 | 空间加热和制冷用带电驱动压缩机的空调、液体冷却包和热泵.试验条件 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling. Test conditions | 正常
BS ISO 12219-4-2013 | 道路车辆的室内空气.汽车内饰零部件和材料中挥发性有机化合物排放的测定方法.小室法 | Interior air of road vehicles. Method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials. Small chamber method | 正常
BS ISO 16358-2-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.加热季节性性能系数 | Air-cooled air conditioners and air-to-air heat pumps. Testing and calculating methods for seasonal performance factors. Heating seasonal performance factor | 正常
BS ISO 16358-1-2013 | 气冷式空调和空气对空气热泵.季节性性能因素的测试和计算方法.冷却季节性性能因素 | Air-cooled air conditioners and air-to-air heat pumps. Testing and calculating methods for seasonal performance factors. Cooling seasonal performance factor | 正常
BS ISO 16358-3-2013 | 气冷式空调和空气热泵.季节性能要素的测试和计算方法.年度性能要素 | Air-cooled air conditioners and air-to-air heat pumps. Testing and calculating methods for seasonal performance factors. Annual performance factor | 正常
BS ISO 14903-2012 | 制冷系统和热泵.组件和接头紧密度的合格性 | Refrigerating systems and heat pumps. Qualification of tightness of components and joints | 正常
BS ISO 13971-2012 | 制冷系统和热泵.软管构件,隔振器,伸缩接头和非金属管.要求和分类 | Refrigeration systems and heat pumps. Flexible pipe elements, vibration isolators, expansion joints and non-metallic tubes. Requirements and classification | 正常
BS EN 60335-2-40-2003+A13-2012 | 家用及类似用途电器.安全性.电热泵,空调机和除湿器详细要求 | Household and similar electrical appliances. Safety. Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
BS CP 3000-1955 | 下饲式加煤机的安装和维护实施规程 | Code of practice on the installation and maintenance of underfeed stokers | 正常
BS EN 13313-2010 | 制冷系统和加热泵.人员的能力 | Refrigerating systems and heat pumps. Competence of personnel | 正常
BS EN 14276-2-2007+A1-2011 | 制冷系统和热泵用压力设备.管道系统.一般要求 | Pressure equipment for refrigerating systems and heat pumps. Piping. General requirements | 正常
BS EN 14276-1-2006+A1-2011 | 制冷系统和热泵用压力设备.容器.一般要求 | Pressure equipment for refrigerating systems and heat pumps. Vessels. General requirements | 正常
BS EN 16084-2011 | 制冷系统和热泵.元件和接头紧密型鉴定 | Refrigerating systems and heat pumps. Qualification of tightness of components and joints | 正常
BS EN 15879-1-2011 | 电驱动压缩机和空间加热或冷却的地面直接交换偶联热泵的评级和测试.对水直接交换热泵 | Testing and rating of direct exchange ground coupled heat pumps with electrically driven compressors for space heating and/or cooling. Direct exchange-to-water heat pumps | 正常
BS EN 14511-1-2013 | 空间加热和制冷用带电力驱动压缩机的空调, 液体制冷包和热泵. 术语, 定义和分类 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling. Terms, definitions and classification | 正常
BS EN 1736-2008 | 制冷系统和热泵.柔性管部件、振动绝缘器、膨胀节和非金属管道.要求、设计和安装 | Refrigerating systemsand heat pumps —Flexible pipe elements,vibration isolators,expansion joints andnon-metallic tubes —Requirements, designand installation | 正常
BS EN 1861-1998 | 制冷系统和热力泵.系统流量图,管道和设备图.布局和符号 | Refrigerating systems and heat pumps - System flow diagrams and piping and instrument diagrams - Layout and symbols | 正常
BS ISO 5151-2017 | 非管道式空调与加热泵.性能试验和评定 | Non-ducted air conditioners and heat pumps. Testing and rating for performance | 正常
BS ISO 15042-2017 | 多个分体式各柜式空调器和空气能热泵.性能检测和评估 | Multiple split-system air conditioners and air-to-air heat pumps. Testing and rating for performance | 正常
BS ISO 13253-2017 | 导管式空调和空气加热泵.试验和性能评定 | Ducted air-conditioners and air-to-air heat pumps. Testing and rating for performance | 正常
BS EN 16905-5-2017 | 燃气式吸热发动机驱动热泵. 加热和冷却模式的季节性能计算 | Gas-fired endothermic engine driven heat pumps. Calculation of seasonal performances in heating and cooling mode | 正常
BS EN 16905-4-2017 | 燃气式吸热发动机驱动热泵. 试验方法 | Gas-fired endothermic engine driven heat pumps. Test methods | 正常
BS EN 16905-3-2017 | 燃气式吸热发动机驱动热泵. 试验条件 | Gas-fired endothermic engine driven heat pumps. Test conditions | 正常
BS EN 16905-1-2017 | 燃气式吸热发动机驱动热泵. 术语和定义 | Gas-fired endothermic engine driven heat pumps. Terms and definitions | 正常
BS EN 378-4-2016 | 制冷系统和加热泵.安全性和环境要求.操作、维修、检修和再利用 | Refrigerating systems and heat pumps. Safety and environmental requirements. Operation, maintenance, repair and recovery | 正常
BS EN 378-3-2016 | 制冷系统和加热泵.安全性和环境要求.安装现场和人员保护 | Refrigerating systems and heat pumps. Safety and environmental requirements. Installation site and personal protection | 正常
BS EN 378-2-2016 | 制冷系统和加热泵.安全性和环境要求.设计、制造、试验、标记和文献 | Refrigerating systems and heat pumps. Safety and environmental requirements. Design, construction, testing, marking and documentation | 正常
BS EN 378-1-2016 | 制冷系统和热泵.安全性和环境要求.基本要求,定义,分类和选择标准 | Refrigerating systems and heat pumps. Safety and environmental requirements. Basic requirements, definitions, classification and selection criteria | 正常
BS EN 16147-2017 | 电驱动压缩机热泵.家用标识的热水装置测试、性能等级和要求 | Heat pumps with electrically driven compressors. Testing, performance rating and requirements for marking of domestic hot water units | 正常
BS EN 12178-2016 | 制冷系统和热泵.液位指示设备.要求、试验和标记 | Refrigerating systems and heat pumps. Liquid level indicating devices. Requirements, testing and marking | 正常
BS EN 14825-2016 | 空间加热和制冷用空调,带电动压缩机的液体冷却封装和热泵.季节性性能的部分负荷状态和计算试验和等级 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors, for space heating and cooling. Testing and rating at part load conditions and calculation of seasonal performance | 正常
BS EN 12309-2-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器件. 安全性 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW. Safety | 正常
BS EN 12693-2008 | 制冷系统和热泵.安全和环境要求.容积式制冷剂压缩机 | Refrigerating systems and heat pumps - Safety and environmental requirements - Positive displacement refrigerant compressors | 正常
BS EN 15450-2007 | 建筑物供暖系统.热泵供暖系统的设计 | Heating systems in buildings - Design of heat pump heating systems | 正常
BS EN 12263-1999 | 制冷系统和热力泵.限压安全开关装置.要求和试验 | Refrigerating systems and heat pumps - Safety switching devices for limiting the pressure - Requirements and tests | 正常
CP 3000-1955 | 下馈式烧煤机的安装与维护实用规程 | Code of practice on the installation and maintenance of underfeed stokers | 正常
EN 12178-2016 | 制冷系统及热泵.液位指示设备.要求、试验和标记;德文版本EN 12178-2016 | Refrigerating systems and heat pumps - Liquid level indicating devices - Requirements, testing and marking; German version EN 12178:2016 | 正常
EN ISO 17628-2015 | 岩土工程勘察和试验. 地热试验. 利用岩石钻孔换热器对土壤和岩石导热率的测定 (ISO 17628-2015); 德文版本EN ISO 17628-2015 | Geotechnical investigation and testing - Geothermal testing - Determination of thermal conductivity of soil and rock using a borehole heat exchanger (ISO 17628:2015); German version EN ISO 17628:2015 | 正常
EN 16905-5-2017 | 燃气式吸热发动机驱动热泵. 第5部分: 加热和冷却模式的季节性能计算; 德文版本EN 16905-5-2017 | Gas-fired endothermic engine driven heat pumps - Part 5: Calculation of seasonal performances in heating and cooling mode; German version EN 16905-5:2017 | 正常
EN 14825-2016 | 空间加热和冷却用带有电驱动压缩机的液体冷却封装和热泵空调.部分负载条件下的试验和评定和周期性能计算.德文版本EN 14825-2016 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors, for space heating and cooling - Testing and rating at part load conditions and calculation of seasonal performance; German version EN 14825:2016 | 正常
EN 12309-2-2015 | 净输入热量不超过10 kW的加热和/或冷却用燃气吸附设备. 第2部分: 安全; 德文版本EN 12309-2-2015 + AC-2015 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 2: Safety; German version EN 12309-2:2015 + AC:2015 | 正常
EN 378-4-2016 | 制冷系统和热泵.安全性和环境要求.第4部分:操作、维护、检修和修复.德文版本EN 378-4-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4: Operation, maintenance, repair and recovery; German version EN 378-4:2016 | 正常
EN 378-3-2016 | 制冷系统和热泵.安全性和环境要求.第3部分:安装位置和个人防护.德文版本EN 378-3-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 3: Installation site and personal protection; German version EN 378-3:2016 | 正常
EN 378-2-2016 | 制冷系统和热泵.安全性和环境要求.第2部分:设计,建造,试验,标志和文件.德文版本EN 378-2-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 2: Design, construction, testing, marking and documentation; German version EN 378-2:2016 | 正常
EN 378-1-2016 | 制冷系统和热泵.安全性和环境要求.第1部分:基本要求,定义,分类和选择标准.德文版本EN 378-1-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1: Basic requirements, definitions, classification and selection criteria; German version EN 378-1:2016 | 正常
EN 12309-1-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第1部分: 术语和定义; 德文版本EN 12309-1-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 1: Terms and definitions; German version EN 12309-1:2014 | 正常
EN 12309-3-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第3部分: 试验条件; 德文版本EN 12309-3-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 3: Test conditions; German version EN 12309-3:2014 | 正常
EN 12309-4-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第4部分: 试验方法; 德文版本EN 12309-4-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 4: Test methods; German version EN 12309-4:2014 | 正常
EN 12309-5-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第5部分: 要求; 德文版本EN 12309-5-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 5: Requirements; German version EN 12309-5:2014 | 正常
EN 12309-6-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第6部分: 季节性性能的计算; 德文版本EN 12309-6-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 6: Calculation of seasonal performances; German version EN 12309-6:2014 | 正常
EN 12309-7-2014 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第7部分: 混合燃料器具的特殊要求; 德文版本EN 12309-7-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 7: Specific provisions for hybrid appliances; German version EN 12309-7:2014 | 正常
EN 60335-2-40-2013 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求(IEC 60335-2-40-2002,修订本+A1-2005, 修订本+A2-2005,修订本+Cor.1-2006).德文版本EN 60335-2-40-2003+A11-2004+A12-2005+A1-2006+Cor.-2006+A2-2009+Cor.-2010+A13-2012+A13-2012/AC-2013 | Household and similar electrical appliances.Safety.Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers (IEC 60335-2-40:2002, modified + A1:2005, modified + A2:2005, modified + Cor. 1:2006); German version EN 60335-2-40:2003 + A11:2004 + A12:2005 + A1:2006 + Cor.:2006 + A2:2009 + Cor.:2010 + A13:2012 + A13:2012/AC:2013 | 正常
EN 14511-3-2013 | 空间加热和制冷用带电力驱动压缩机的空调, 液体制冷包和热泵. 第3部分: 试验方法; 德文版本EN 14511-3-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 3: Test methods; German version EN 14511-3:2013 | 正常
EN 14511-1-2013 | 空间加热和制冷用带电动压缩机的空调, 液体冷却包和热泵. 第1部分:术语, 定义和分类; 德文版本EN 14511-1-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 1: Terms, definitions and classification; German version EN 14511-1:2013 | 正常
EN 12102-2013 | 空间加热和制冷用带电力驱动压缩机的空调、液体冷却组件、热泵和减湿器.空气噪声的测量.声功率级的测定.德文版本EN 12102-2013 | Air conditioners, liquid chilling packages, heat pumps and dehumidifiers with electrically driven compressors for space heating and cooling - Measurement of airborne noise - Determination of the sound power level; German version EN 12102:2013 | 正常
EN 13136-2013 | 制冷系统和热泵.释压装置及其相关管道.计算方法.德文版本EN 13136-2013 | Refrigerating systems and heat pumps - Pressure relief devices and their associated piping - Methods for calculation; German version EN 13136:2013 | 正常
EN 14511-2-2013 | 空间加热和冷却用电动压缩机空调、液体冷却装置及热泵.第2部分:试验条件.德文版 EN 14511-2-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 2: Test conditions; German version EN 14511-2:2013 | 正常
EN ISO 14903-2017 | 制冷系统和热泵.元件和接头紧密性限制条件(ISO 14903-2017);德文版本EN ISO 14903-2017 | Refrigerating systems and heat pumps - Qualification of tightness of components and joints (ISO 14903:2017); German version EN ISO 14903:2017 | 正常
EN 14511-4-2013 | 空间加热及冷却用电动压缩机空调、冷液机组和热泵.第4部分:操作要求、标志和说明.德文版本EN 14511-4-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 4: Operating requirements, marking and instructions; German version EN 14511-4:2013 | 正常
EN 13313-2010 | 制冷系统和热泵.工作人员能力;德文版本EN 13313-2010 | Refrigerating systems and heat pumps - Competence of personnel; German version EN 13313:2010 | 正常
EN 16905-4-2017 | 燃气式吸热发动机驱动热泵.第4部分:试验方法;德文版本EN 16905-4-2017 | Gas-fired endothermic engine driven heat pumps - Part 4: Test methods; German version EN 16905-4:2017 | 正常
EN 16905-3-2017 | 燃气式吸热发动机驱动热泵.第3部分:试验条件;德文版本EN 16905-3-2017 | Gas-fired endothermic engine driven heat pumps - Part 3: Test conditions; German version EN 16905-3:2017 | 正常
EN 16905-1-2017 | 燃气式吸热发动机驱动热泵.第1部分:术语和定义;德文版本EN 16905-1-2017 | Gas-fired endothermic engine driven heat pumps - Part 1: Terms and definitions; German version EN 16905-1:2017 | 正常
EN 16147-2011 | 带电力驱动压缩机的热泵.家庭热水机组的标记用试验和要求.德文版本EN 16147-2011 | Heat pumps with electrically driven compressors - Testing and requirements for marking of domestic hot water units; German version EN 16147:2011 | 正常
EN 15879-1-2011 | 电驱动压缩机和空间加热或冷却的地面直接交换偶联热泵的评级和测试.第1部分:直接交换水热泵;德文版本EN 15879-1-2011 | Testing and rating of direct exchange ground coupled heat pumps with electrically driven compressors for space heating and/or cooling - Part 1: Direct exchange-to-water heat pumps; German version EN 15879-1:2011 | 正常
EN 14276-2-2011 | 制冷系统和热泵用压力设备.第2部分:管道.一般要求;德文版本EN 14276-2-2007+A1-2011 | Pressure equipment for refrigerating systems and heat pumps - Part 2: Piping - General requirements; German version EN 14276-2:2007+A1:2011 | 正常
EN 14276-1-2011 | 制冷系统和热泵用压力设备.第1部分:压力容器.一般要求;德文版本EN 14276-1-2006+A1-2011 | Pressure equipment for refrigerating systems and heat pumps - Part 1: Vessels - General requirements; German version EN 14276-1:2006+A1:2011 | 正常
EN 1736-2008 | 制冷系统和热泵.软管元件、隔振器、膨胀节和非金属管.要求、设计和安装 | Refrigerating systems and heat pumps - Flexible pipe elements, vibration isolators, expansion joints and non-metallic tubes - Requirements, design and installation; English version of DIN EN 1736:2009-02 | 正常
EN 15450-2007 | 建筑物加热系统.热泵加热系统的设计 | Heating systems in buildings - Design of heat pump heating systems; English version of DIN EN 15450:2007-12 | 正常
EN 12263-1998 | 制冷设备和热力泵.压力极限用安全开关设备.要求和试验 | Refrigerating systems and heat pumps - Safety switching devices for limiting the pressure - Requirements and tests; German version EN 12263:1998 | 正常
EN 1861-1998 | 制冷设备和热泵.系统流程图和管道流程及仪器流程图.结构布局和符号 | Refrigerating systems and heat pumps - System flow diagrams and piping and instrument diagrams - Layout and symbols; German version EN 1861:1998 | 正常
ANSI/NSF 358-1(i2r1)-2014 | 以水为基础的地源性地热热泵系统用聚丙烯管和配件 | Polyethylene Pipe and Fittings for Water-Based Ground-Source Geothermal Heat Pump Systems | 正常
ANSI/ASHRAE 206-2013 | 住宅空间空调和热水用多功能热泵额定值的测试方法 | Method of Testing for Rating of Multipurpose Heat Pumps for Residential Space Conditioning and Water Heating (Includes Addenda: a, b, and c) | 正常
ANSI/UL 60335-2-40-2012 | 家用和类似用途电器的安全标准.第2-40部分:电热泵、空调和除湿机的详细要求 | Standard for Household and Similar Electrical Appliances, Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
ANSI/ASHRAE 194P-2012 | 直接膨胀土壤源热泵用试验方法 | Method of Test for Direct-Expansion Ground Source Heat Pumps | 正常
ANSI/ASHRAE Standard116-1995 | 单式空调器和热泵的季节效应试验方法 | Seasonal Efficiency of Unitary Air Conditioners and Heat Pumps, Methods of Testing for | 正常
ANSI/NSF 358-2-2012 | 以水为基础的地源性地热热泵系统用聚丙烯管和配件.热泵系统 | Polypropylene Pipe and Fittings for Water-Based Ground-Source "Geothermal" Heat Pump Systems | 正常
ANSI/AHRI 340/360with Addenda 1 and 2-2011 | 商业和工业的整体式空调和热泵设备的性能评价 | Performance Rating of Commercial and Industrial Unitary Air-Conditioning and Heat Pump Equipment | 正常
ANSI/AHRI/ASHRAE/ISO 13256-2-2011 | 水源热泵.性能测试和评价.第2部分:水-水和盐水-水热泵 | Water-source heat pumps - testing and rating for performance - Part 2: Water-to-water and brine-to-water heat pumps | 正常
ANSI/AHRI/ASHRAE/ISO 13256-1-2011 | 水源热泵.性能测试和评价.第1部分:水.空气和盐水.空气热泵 | Water-source heat pumps - testing and rating for performance - Part 1: Water-to-air and brine-to-air heat pumps | 正常
ANSI Z21.40.1-1996 and Z 21.40.1a-1997 | 燃气的热活化空气调节和热泵器具标准 | Standard for Gas-Fired, Heat Activated Air Conditioning and Heat Pump Appliances, and Addenda a (same as CGA 2.91 and CGA 2.91a) | 正常
ANSI/AHRI 1161(SI)-2011 | 泳池热泵加热器的性能评价 | Performance Rating of Heat Pump Pool Heaters | 正常
ANSI/AHRI 1160(I-P)-2011 | 泳池热泵加热器的性能评价 | Performance Rating of Heat Pump Pool Heaters | 正常
ANSI/AHRI 1230-2010 | 多分割区空气调节和热泵设备可变制冷剂流量(VRF)作业等级 | Performance Rating of Variable Refrigerant Flow (VRF) Multi-Split Air-Conditioning and Heat Pump Equipment (Incorporating Addendum 1: March 2011; Addendum 2: June 2014) | 正常
ANSI/ASME EA-2-2009 | 泵系统能量评估 | Energy Assessment for Pumping Systems | 正常
ANSI/AHRI 300-2009 | 包装终端设备的声音额定值和声音传输损耗 | Sound Rating and Sound Transmission Loss of Packaged Terminal Equipment | 正常
ANSI/ASHRAE 116-2010 | 整体式空调和热泵的季节热效率评级用试验方法 | Methods of Testing for Rating Seasonal Efficiency of Unitary Air Conditioners and Heat Pumps | 正常
ANSI/AHRI 270-2009 | 室外单元设备声音性能评估 | Sound Performance Rating of Outdoor Unitary Equipment | 正常
ANSI/AHRI 870-2009 | 直接土工交换热泵的性能额定值 | Performance Rating of Direct Geoexchange Heat Pumps | 正常
ANSI/AHRI 310/380-2004 | 组装式终端空气调节器与热泵用标准 | Standard for Packaged Terminal Air-Conditioners and Heat Pumps (formerly ANSI/ARI 310/380-2004) | 正常
ANSI Z21.40.2-1996 and Z 21.40.2a-1997 | 同CGA 2.92-M96和CGA 2.92a-M97的空调和热泵器具美国国家标准/CGA标准和附录"a" | American National Standard/CGA Standard for Air Conditioning and Heat Pump Appliances and Addenda "a", same as CGA 2.92-M96 and CGA 2.92a-M97 | 正常
ANSI/ARI 340-360-2004 | 商用和工业用单元空调和热泵设备作业等级 | Performance Rating of Commercial and Industrial Unitary Air-Conditioning and Heat Pump Equipment | 正常
ANSI/ARI 1160-2004 | 热泵集中加热器的性能评定 | Performance Rating of Heat Pump Pool Heaters | 正常
ANSI/ARI/ASHRAE/ISO 13256-1-1998 | 水源热力泵.性能试验和额定值测量.第1部分:水-空气和盐水-空气热力泵 | Water-Source Heat Pumps - Testing and Rating for Performance: Part 1 - Water-to-Air and Brine-to-Air Heat Pumps | 正常
ANSI Z21.40.2a-1997 | 燃气、工作激活空气调节和热泵器具(同 CGA 2.92a) | Gas-Fired, Work Activated Air-Conditioning and Heat Pump Appliances (Same as CGA 2.92a) | 正常
ANSI/ARI/ASHRAE/ISO 13256-2-1998 | 水源热力泵.性能试验和额定值测量.第2部分:水-水和盐水-水热力泵 | Water-Source Heat Pumps - Testing and Rating for Performance: Part 2 - Water-to-Water and Brine-to-Water Heat Pumps | 正常
ASME EA-2G-2010 | 泵系统的能力评估ASME EA-2标准用指南 | Guidance for ASME EA-2@ Energy Assessment for Pumping Systems | 正常
ASME EA-2-2009 | 泵送系统用能量评估 | Energy Assessment for Pumping Systems | 正常
IEC 60335-2-40-2013 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求 | Household and similar electrical appliances - Safety - Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
IEC 60335-2-40 AMD 1-2016 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求.修改件1 | Household and similar electrical appliances - Safety - Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers; Amendment 1 | 正常
IEC 60335-2-40 Edition 5.1-2016 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求 | Household and similar electrical appliances - Safety - Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
DIN EN 12178-2017 | 制冷系统及热泵.液位指示设备.要求、试验和标记;德文版本EN 12178-2016 | Refrigerating systems and heat pumps - Liquid level indicating devices - Requirements, testing and marking; German version EN 12178:2016 | 正常
DIN EN 16905-5-2017 | 燃气式吸热发动机驱动热泵. 第5部分: 加热和冷却模式的季节性能计算; 德文版本EN 16905-5-2017 | Gas-fired endothermic engine driven heat pumps - Part 5: Calculation of seasonal performances in heating and cooling mode; German version EN 16905-5:2017 | 正常
DIN EN 14825-2016 | 空间加热和冷却用带有电驱动压缩机的液体冷却封装和热泵空调.部分负载条件下的试验和评定和周期性能计算.德文版本EN 14825-2016 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors, for space heating and cooling - Testing and rating at part load conditions and calculation of seasonal performance; German version EN 14825:2016 | 正常
DIN EN 378-4-2017 | 制冷系统和热泵.安全性和环境要求.第4部分:操作、维护、检修和修复.德文版本EN 378-4-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4: Operation, maintenance, repair and recovery; German version EN 378-4:2016 | 正常
DIN EN 378-3-2017 | 制冷系统和热泵.安全性和环境要求.第3部分:安装位置和个人防护.德文版本EN 378-3-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 3: Installation site and personal protection; German version EN 378-3:2016 | 正常
DIN EN 378-2-2017 | 制冷系统和热泵.安全性和环境要求.第2部分:设计,建造,试验,标志和文件.德文版本EN 378-2-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 2: Design, construction, testing, marking and documentation; German version EN 378-2:2016 | 正常
DIN EN 378-1-2017 | 制冷系统和热泵.安全性和环境要求.第1部分:基本要求,定义,分类和选择标准.德文版本EN 378-1-2016 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1: Basic requirements, definitions, classification and selection criteria; German version EN 378-1:2016 | 正常
DIN EN ISO 17628-2015 | 岩土工程勘察和试验. 地热试验. 利用岩石钻孔换热器对土壤和岩石导热率的测定 (ISO 17628-2015); 德文版本EN ISO 17628-2015 | Geotechnical investigation and testing - Geothermal testing - Determination of thermal conductivity of soil and rock using a borehole heat exchanger (ISO 17628:2015); German version EN ISO 17628:2015 | 正常
DIN EN 12309-2-2016 | 净输入热量不超过10 kW的加热和/或冷却用燃气吸附设备. 第2部分: 安全; 德文版本EN 12309-2-2015 + AC-2015 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 2: Safety; German version EN 12309-2:2015 + AC:2015 | 正常
DIN EN 12309-4 Berichtigung 1-2015 | 净输入热量不超过10 kW的加热和/或冷却用燃气吸附设备. 第4部分: 试验方法; 德文版本EN 12309-4-2015, DIN EN 12309-4-2015-03的勘误表 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 4: Test methods; German version EN 12309-4:2015, Corrigendum to DIN EN 12309-4:2015-03 | 正常
DIN EN 12309-1-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第1部分: 术语和定义; 德文版本EN 12309-1-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 1: Terms and definitions; German version EN 12309-1:2014 | 正常
DIN EN 12309-3-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第3部分: 试验条件; 德文版本EN 12309-3-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 3: Test conditions; German version EN 12309-3:2014 | 正常
DIN EN 12309-4-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第4部分: 试验方法; 德文版本EN 12309-4-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 4: Test methods; German version EN 12309-4:2014 | 正常
DIN EN 12309-5-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第5部分: 要求; 德文版本EN 12309-5-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 5: Requirements; German version EN 12309-5:2014 | 正常
DIN EN 12309-6-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第6部分: 季节性性能的计算; 德文版本EN 12309-6-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 6: Calculation of seasonal performances; German version EN 12309-6:2014 | 正常
DIN EN 12309-7-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第7部分: 混合燃料器具的特殊要求; 德文版本EN 12309-7-2014 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 7: Specific provisions for hybrid appliances; German version EN 12309-7:2014 | 正常
DIN EN 60335-2-40-2014 | 家用和类似用途电器.安全性.第2-40部分:电动热泵、空调器和去湿器的详细要求(IEC 60335-2-40-2002,修订本+A1-2005, 修订本+A2-2005,修订本+Cor.1-2006).德文版本EN 60335-2-40-2003+A11-2004+A12-2005+A1-2006+Cor.-2006+A2-2009+Cor.-2010+A13-2012+A13-2012/AC-2013 | Household and similar electrical appliances.Safety.Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers (IEC 60335-2-40:2002, modified + A1:2005, modified + A2:2005, modified + Cor. 1:2006); German version EN 60335-2-40:2003 + A11:2004 + A12:2005 + A1:2006 + Cor.:2006 + A2:2009 + Cor.:2010 + A13:2012 + A13:2012/AC:2013 | 正常
DIN EN 1861-1998 | 制冷设备和热泵.系统流程图和管道流程及仪器流程图.结构布局和符号 | Refrigerating systems and heat pumps - System flow diagrams and piping and instrument diagrams - Layout and symbols; German version EN 1861:1998 | 正常
DIN 8901-2002 | 制冷系统和加热泵.土壤、土地和地表水的保护.安全性和环境要求与试验 | Refrigerating systems and heat pumps - Protection of soil, ground and surface water - Safety and environmental requirements and testing | 正常
DIN EN 14511-3-2013 | 空间加热和制冷用带电力驱动压缩机的空调, 液体制冷包和热泵. 第3部分: 试验方法; 德文版本EN 14511-3-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 3: Test methods; German version EN 14511-3:2013 | 正常
DIN EN 14511-1-2013 | 空间加热和制冷用带电动压缩机的空调, 液体冷却包和热泵. 第1部分:术语, 定义和分类; 德文版本EN 14511-1-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 1: Terms, definitions and classification; German version EN 14511-1:2013 | 正常
DIN EN 12102-2013 | 空间加热和制冷用带电力驱动压缩机的空调、液体冷却组件、热泵和减湿器.空气噪声的测量.声功率级的测定.德文版本EN 12102-2013 | Air conditioners, liquid chilling packages, heat pumps and dehumidifiers with electrically driven compressors for space heating and cooling - Measurement of airborne noise - Determination of the sound power level; German version EN 12102:2013 | 正常
DIN EN 13136-2013 | 制冷系统和热泵.释压装置及其相关管道.计算方法.德文版本EN 13136-2013 | Refrigerating systems and heat pumps - Pressure relief devices and their associated piping - Methods for calculation; German version EN 13136:2013 | 正常
DIN EN 14511-4-2013 | 空间加热及冷却用电动压缩机空调、冷液机组和热泵.第4部分:操作要求、标志和说明.德文版本EN 14511-4-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 4: Operating requirements, marking and instructions; German version EN 14511-4:2013 | 正常
DIN EN 14511-2-2013 | 空间加热和冷却用电动压缩机空调、液体冷却装置及热泵.第2部分:试验条件.德文版 EN 14511-2-2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 2: Test conditions; German version EN 14511-2:2013 | 正常
DIN EN ISO 14903-2017 | 制冷系统和热泵.元件和接头紧密性限制条件(ISO 14903-2017);德文版本EN ISO 14903-2017 | Refrigerating systems and heat pumps - Qualification of tightness of components and joints (ISO 14903:2017); German version EN ISO 14903:2017 | 正常
DIN CEN ISO/TS 16491-2013 | 测量空调和热泵冷却和热容量试验的不确定性评价指南(ISO/TS 16491-2012).德文版本CEN ISO/TS 16491-2012 | Guidelines for the evaluation of uncertainty of measurement in air conditioner and heat pump cooling and heating capacity tests (ISO/TS 16491:2012); German version CEN ISO/TS 16491:2012 | 正常
DIN EN 16147 Berichtigung 1-2012 | 带电动压缩机的热泵.家用热水单元标记用试验和要求.德文版本EN 16147-2011,DIN EN 16147-2011-04标准的勘误表,德文版本EN 16147-2011/AC-2011 | Heat pumps with electrically driven compressors - Testing and requirements for marking of domestic hot water units; German version EN 16147:2011, Corrigendum to DIN EN 16147:2011-04, German version EN 16147:2011/AC:2011 | 正常
DIN EN 13313-2011 | 制冷系统和热泵.工作人员能力;德文版本EN 13313-2010 | Refrigerating systems and heat pumps - Competence of personnel; German version EN 13313:2010 | 正常
DIN EN 378-4/A1-2017 | 制冷系统和热泵. 安全和环境要求. 第4部分：操作、维护、修理和恢复；德文和英文版本EN 378-4:2016/prA1:2017 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4: Operation, maintenance, repair and recovery; German and English version EN 378-4:2016/prA1:2017 | 正常
DIN EN 16905-4-2017 | 燃气式吸热发动机驱动热泵.第4部分:试验方法;德文版本EN 16905-4-2017 | Gas-fired endothermic engine driven heat pumps - Part 4: Test methods; German version EN 16905-4:2017 | 正常
DIN EN 16905-3-2017 | 燃气式吸热发动机驱动热泵.第3部分:试验条件;德文版本EN 16905-3-2017 | Gas-fired endothermic engine driven heat pumps - Part 3: Test conditions; German version EN 16905-3:2017 | 正常
DIN EN 16905-1-2017 | 燃气式吸热发动机驱动热泵.第1部分:术语和定义;德文版本EN 16905-1-2017 | Gas-fired endothermic engine driven heat pumps - Part 1: Terms and definitions; German version EN 16905-1:2017 | 正常
DIN EN 14276-2-2011 | 制冷系统和热泵用压力设备.第2部分:管道.一般要求;德文版本EN 14276-2-2007+A1-2011 | Pressure equipment for refrigerating systems and heat pumps - Part 2: Piping - General requirements; German version EN 14276-2:2007+A1:2011 | 正常
DIN EN 14276-1-2011 | 制冷系统和热泵用压力设备.第1部分:压力容器.一般要求;德文版本EN 14276-1-2006+A1-2011 | Pressure equipment for refrigerating systems and heat pumps - Part 1: Vessels - General requirements; German version EN 14276-1:2006+A1:2011 | 正常
DIN EN 16147-2011 | 带电力驱动压缩机的热泵.家庭热水机组的标记用试验和要求.德文版本EN 16147-2011 | Heat pumps with electrically driven compressors - Testing and requirements for marking of domestic hot water units; German version EN 16147:2011 | 正常
DIN EN 15879-1-2011 | 电驱动压缩机和空间加热或冷却的地面直接交换偶联热泵的评级和测试.第1部分:直接交换水热泵;德文版本EN 15879-1-2011 | Testing and rating of direct exchange ground coupled heat pumps with electrically driven compressors for space heating and/or cooling - Part 1: Direct exchange-to-water heat pumps; German version EN 15879-1:2011 | 正常
DIN 33831-2-1989 | 热力泵.可与内燃发动机驱动的压缩机连接的热力泵.第2部分:气体设备的要求、检验 | Heat pumps; ready to use heat pump units with internal combustion engine driven compressors, requirements on the gas equipment, testing | 正常
DIN 33831-1-1989 | 热力泵.可与内燃发动机驱动的压缩机连接的热力泵.第1部分:术语、要求、检验、标记 | Heat pumps; ready to use heat pump units with internal combustion engine driven compressors; terminology, requirements, testing, marking | 正常
DIN 33830-1-1988 | 热泵.整套热吸收式泵装置.概念、要求、检验、标记 | Heat pumps; complet absorption pump units; concepts, requirements, testing, marking | 正常
DIN 8930-5-2003 | 制冷系统和热泵.术语.第5部分:收缩式 | Refrigerating systems and heat pumps - Terminology - Part 5: Contracting | 正常
DIN EN 1736-2009 | 制冷系统和热泵.软管元件、隔振器、膨胀节和非金属管.要求、设计和安装 | Refrigerating systems and heat pumps - Flexible pipe elements, vibration isolators, expansion joints and non-metallic tubes - Requirements, design and installation; English version of DIN EN 1736:2009-02 | 正常
DIN EN 15450-2007 | 建筑物加热系统.热泵加热系统的设计 | Heating systems in buildings - Design of heat pump heating systems; English version of DIN EN 15450:2007-12 | 正常
DIN EN 12263-1999 | 制冷设备和热力泵.压力极限用安全开关设备.要求和试验 | Refrigerating systems and heat pumps - Safety switching devices for limiting the pressure - Requirements and tests; German version EN 12263:1998 | 正常
JIS B8639-2017 | 热能回收通风机. 流量净供给气流和总效率性能试验方法 | Heat and energy recovery ventilators -- Method of test for performance of flowrate, net supply airflow and gross effectiveness | 正常
JIS B8615-3-2015 | 多联机系统空调和空气对空气热泵. 性能试验和比率 | Multiple split-system air-conditioners and air-to-air heat pumps -- Testing and rating for performance | 正常
JIS B8615-2-2015 | 管道通风空调和空气对空气热泵.性能的试验和额定值 | Ducted air-conditioners and air-to-air heat pumps -- Testing and rating for performance | 正常
JIS B8615-1-2013 | 无管空调和热泵.性能试验和评定 | Non-ducted air conditioners and heat pumps -- Testing and rating for performance | 正常
JIS C9815-2-2013 | 空调和空气源热泵设备的声功率额定值.第2部分:室内无风管设备 | Sound power rating of air-conditioning and air-source heat pump equipment -- Part 2: Non-ducted indoor equipment | 正常
JIS C9815-1-2013 | 空调和空气源热泵设备的声功率额定值.第1部分:无室外管道设备 | Sound power rating of air-conditioning and air-source heat pump equipment -- Part 1: Non-ducted outdoor equipment | 正常
JIS B8111-1995 | 射汽抽气器的试验方法 | Testing methods for steam jet air ejectors | 正常
NF E35-404-1-2017 | 制冷系统和热泵.安全性和环境要求.第1部分:基本要求、定义、分类和选择准则 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 1 : basic requirements, definitions, classification and selection criteria | 正常
NF E35-406-2017 | 制冷系统和热泵.液位指示装置.要求、试验和作标记 | Refrigerating systems and heat pumps - Liquid level indicating devices - Requirements, testing and marking | 正常
NF E35-404-4-2017 | 制冷设备和热泵.安全性和环境要求.第4部分:操作、维护、修理和恢复 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 4 : operation, maintenance, repair and recovery | 正常
NF E35-404-3-2017 | 制冷设备和热泵.安全性和环境要求.第3部分:安装场所和人员保护 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 3 : installation site and personal protection | 正常
NF E35-404-2-2017 | 制冷系统和热泵.安全性和环境要求.第2部分:设计、结构、试验、标记和文件 | Refrigerating systems and heat pumps - Safety and environmental requirements - Part 2 : design, construction, testing, marking and documentation | 正常
NF P52-310-2017 | DTU 65.16建筑工程热泵装置. 第1 - 1部分:技术示范条款合同清单. 第1 - 2部分:材料选择的一般标准. 第2部分:特别行政示范条款合同草案 | DTU 65.16 - Building works - Heat pumps installations- Part 1-1 : contract bill of technical model clauses - Part 1-2 : general criteria for choice of materials - Part 2 : contract bill of special administrative model clauses | 正常
NF E38-115-2017 | 带电驱动压缩机的热力泵.室内热水设备标识用试验、性能评定和要求 | Heat pumps with electrically driven compressors - Testing, performance rating and requirements for marking of domestic hot water units | 正常
NF P52-310-1-1-2017 | DTU 65.16建筑工程热泵装置. 第1 - 1部分:技术示范条款合同清单 | DTU 65.16 - Building works - Heat pumps installations- Part 1-1 : contract bill of technical model clauses | 正常
NF P52-310-2-2017 | DTU 65.16建筑工程热泵装置. 第2部分:特别行政示范条款合同草案 | DTU 65.16 - Building works - Heat pumps installations - Part 2 : contract bill of special administrative model clauses | 正常
NF P52-310-1-2-2017 | DTU 65.16建筑工程热泵装置. 第1 - 2部分:材料选择的一般标准 | DTU 65.16 - Building works - Heat pumps installations - Part 1-2 : general criteria for choice of materials | 正常
NF E38-117-2016 | 空间加热和制冷用带电动压缩机的空调, 液体冷却包和热泵 - 部分负荷条件下的季节性能的测试, 评价和计算 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors for space heating and cooling - Testing and rating at part load conditions and calculation of seasonal performance | 正常
NF E35-600-1-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第1部分: 术语和定义 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 1 : terms and definitions | 正常
NF E35-600-5-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第5部分: 要求 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 5 : requirements | 正常
NF E35-600-4-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第4部分: 试验方法 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 4 : test methods | 正常
NF E35-600-3-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第3部分: 试验条件 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 3 : test conditions | 正常
NF E35-600-7-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第7部分: 混合燃料器具的特殊要求 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 7 : specific provisions for hybrid appliances | 正常
NF E35-600-6-2015 | 净热输入不超过70 kW的加热和/或冷却用燃气吸附器具. 第6部分: 季节性性能的计算 | Gas-fired sorption appliances for heating and/or cooling with a net heat input not exceeding 70 kW - Part 6 : calculation of seasonal performances | 正常
NF P01-043-1-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 第1部分: 设计和尺寸 | Heating and cooling systems in buildings - Method for calculation of the system performance and system design for heat pump systems - Part 1 : design and dimensioning | 正常
NF E35-610-5-2017 | 燃气式吸热发动机驱动热泵.第5部分:加热和冷却模式的季节性能计算 | Gas-fired endothermic engine driven heat pumps - Part 5 : calculation of seasonal performances in heating and cooling mode | 正常
NF E35-610-3-2017 | 燃气式吸热发动机驱动热泵.第3部分:试验条件 | Gas-fired endothermic engine driven heat pumps - Part 3 : test conditions | 正常
NF E35-414-2/IN1-2011 | 制冷系统和热泵用压力设备.第2部分:管道系统.一般要求. | Pressure equipment for refrigerating systems and heat pumps - Part 2 : piping - General requirements. | 正常
NF E35-414-1/IN1-2011 | 制冷系统和热力泵的压力要求.第1部分:容器.一般要求 | Pressure equipment for refrigerating systems and heat pumps - Part 1 : vessels - General requirements. | 正常
NF E38-119-1-2011 | 电驱动压缩机和空间加热或冷却的地面直接交换偶联热泵的评级和测试.第1部分:对水直接交换热泵. | Testing and rating of direct exchange ground coupled heat pumps with electrically driven compressors for space heating and/or cooling - Part 1 : direct exchange-to-water heat pumps. | 正常
NF C73-840/A2-2009 | 家用和类似用途电器.安全性.第2-40部分:电热泵空调器和减湿器的详细要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air-conditioners and deshumidifiers. | 正常
NF P52-619-2009 | 建筑物供暖系统.热泵供暖系统的设计 | Heating systems in buildings - Design of heat pump heating systems. | 正常
NF E35-405-2009 | 制冷系统和热泵.软管元件、防振器、膨胀接头和非金属管.要求、设计和安装 | Refrigerating systems and heat pumps - Flexible pipe elements, vibration isolators, expansion joints and non-metallic tubes - Requirements, design and installation. | 正常
NF E35-412-2008 | 制冷设备和热泵.安全和环境要求.容积式制冷剂压缩机 | Refrigerating systems and heat pumps - Safety and environmental requirements - Positive displacement refrigerant compressors. | 正常
NF E35-420-2011 | 制冷系统和热泵.人员能力. | Refrigerating systems and heat pumps - Competence of personnel. | 正常
NF C73-840/A1-2006 | 家用和类似用途电器.安全.第2-40部分:电热泵、空调和干燥机的特殊要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air-conditioners and deshumidifiers. | 正常
NF C73-840/A11-2005 | 家用和类似用途电器的安全.第2-40部分: 电热泵、空调机和除湿机的特殊要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air-conditioners and dehumidifiers. | 正常
NF C73-840-2005 | 家用和类似用途电器.安全.第2-40部分:电热泵、空调器和减湿器的特殊要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air conditioners and deshumidifiers. | 正常
NF C73-840/A12-2005 | 家用和类似用途电器.安全.第2-40部分:电热泵、空调和减湿器的特殊要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air-conditioners and dehumidifiers. | 正常
NF E35-407-2002 | 制冷系统和热力泵.限制压力的安全转换开关装置.要求和试验 | Refrigerating systems and heat pumps - Safety switching devices for limiting the pressure - Requirements and tests. | 正常
NF C73-840/A1-2005 | 家用和类似用途电器的安全.第2-40部分:电动热泵、空调器和去湿器的特殊要求 | Safety of household and similar electrical appliances - Part 2-40 : Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers. | 正常
NF C73-840-2001 | 家用和类似电器的安全性.第2-40部分: 电热泵、空调机和除湿机的特殊要求 | Safety household and similar electrical appliances - Part 2-40 : particular requirements for electrical heat pumps, air conditioners and deshumidifiers. | 正常
NF E35-415-1998 | 冷冻系统和热力泵.系统流程图和管道及仪表图.结构图和符号 | Refrigerating systems and heat pumps - System flow diagrams and piping and instrument diagrams - Layout and symbols. | 正常
NF E35-413-2013 | 冷却系统和热力泵.减压装置及其相关的管道.计算方法 | Refrigerating systems and heat pumps - Pressure relief devices and their associated piping - Methods for calculation | 正常
NF P01-043-2-2014 | 建筑物内供暖和制冷系统. 热泵系统的系统性能和系统设计的计算方法. 第2部分: 能量计算 | Heating and cooling systems in buildings - Method for calculation of the system performance and system design for heat pump systems - Part 2 : energy calculation | 正常
NF S31-121-2013 | 空间加热和制冷用带电力驱动压缩机的空调, 液体制冷包, 热泵和除湿器. 空气噪声的测量. 声功率级的测定 | Air conditioners, liquid chilling packages, heat pumps and dehumidifiers with electrically driven compressors for space heating and cooling - Measurement of airborne noise - Determination of the sound power level | 正常
NF E38-116-4-2013 | 空间加热和制冷用带电动压缩机的空调, 液体冷却包和热泵 - 第4部分: 操作要求, 标志和指令 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 4: operating requirements, marking and instructions | 正常
NF E38-116-1-2013 | 空间加热和制冷用带电驱动压缩机的空调、液体制冷包装件和热泵.第1部分:术语、定义和分类 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 1: terms, definitions and classification | 正常
NF E38-116-2-2013 | 空间加热和制冷用带电驱动压缩机的空调、液体冷却包和热泵.第2部分:试验条件 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 2: test conditions | 正常
NF E38-116-3-2013 | 空间加热和制冷用带电驱动压缩机的空调、液体制冷包装件和热泵.第3部分:试验方法 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 3: test methods | 正常
NF E35-414-1-2011 | 制冷系统和热泵用压力设备.第1部分:容器.一般要求. | Pressure equipment for refrigerating systems and heat pumps - Part 1 : vessels - General requirements. | 正常
NF C73-840/A13-2012 | 家用及类似用途电器.安全性.第2-40部分:电气热泵,空调和除湿器的详细要求 | Household and similar electrical appliances - Safety - Part 2-40 : particular requirements for electrical heat pumps, air-conditioners and dehumidifiers | 正常
NF E35-414-2-2011 | 制冷系统和热泵用压力设备.第2部分:管道.一般要求 | Pressure equipment for refrigerating systems and heat pumps - Part 2 : piping - General requirements. | 正常
NF E35-424-2017 | 制冷系统和热泵.组件和接头松紧度合格性. | Refrigerating systems and heat pumps - Qualification of tightness of components and joints | 正常
UL 60335-2-40-2012 | 家用和类似用途电器.第2-40部分:电热泵、空调和除湿机的详细要求 | UL Standard for Safety Household and Similar Electrical Appliances, Part 2-40: Particular Requirements for Electrical Heat Pumps, Air-Conditioners and Dehumidifiers (First Edition; Reprint with revisions through and including May 15, 2017) | 正常
GB/T 18405-2008 | 缩微摄影技术.ISO字符和ISO 1号测试图的特征及其使用 | Micrographics.ISO character and ISO test chart No.1.Description and use | 正常
GB/T 19409-2003 | 水源热泵机组 |  | (作废)
SH/T 3191-2017 | 石油化工气动隔膜泵工程技术规范 | Technical specification for pneumatic diaphragm pumps in petrochemical industry | 正常
SB/T 10345.4-2012 | 制冷系统和热泵安全和环境要求第4部分：操作、维护、检修和回收 | Refrigerating systems and heat pumps.Safety and environmental requirements.Part 4:Operation, maintenance, repair and recovery | 正常
SB/T 10345.3-2012 | 制冷系统和热泵.安全和环境要求.第3部分：安装地点和人身保护 | Refrigerating systems and heat pumps.Safety and environmental requirements.Part 3：Installation site and personal protection | 正常
SB/T 10345.2-2012 | 制冷系统和热泵安全和环境要求 第2部分：设计、建造、试验、标记与文件编制 | Refrigerating systems and heat pumps.Safety and environmental requirements.Part 2:Design, construction, testing, marking and documentation | 正常
SB/T 10345.1-2012 | 制冷系统和热泵.安全和环境要求.第1部分：基本要求、定义和分类 | Refrigerating systems and heat pumps.Safety and environmental requirements.Part 1:Basic requirements,definitions and classification | 正常
SB/T 10343-2012 | 蓄冷设备的性能标定 | Performance Rating of Thermal Storage Equipment Used for Cooling | 正常