## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
JY/T 0588-2020 | 单晶X射线衍射仪测定小分子化合物的晶体及分子结构分析方法通则 |  | 正常
JY/T 0587-2020 | 多晶体X射线衍射方法通则 |  | 正常
JY/T 0579-2020 | 电子顺磁共振波谱分析方法通则 |  | 正常
JY/T 0578-2020 | 超导脉冲傅里叶变换核磁共振波谱测试方法通则 |  | 正常
JT/T 006-1996 | 脉冲傅里叶变换电磁体核磁共振波谱方法通则 |  | 正常
BS ISO 16129-2012 | 表面化学分析.X射线光电子能光谱学.X射线光电子能谱仪日常性能评估规程 | Surface chemical analysis. X-ray photoelectron spectroscopy. Procedures for assessing the day-to-day performance of an X-ray photoelectron spectrometer | 正常
BS ISO 15632-2012 | 微束分析. 用于电子探针显微分析的能量分散X射线光谱仪规范和检查用所选仪器性能参数 | Microbeam analysis. Selected instrumental performance parameters for the specification and checking of energy-dispersive X-ray spectrometers for use in electron probe microanalysis | 正常
IEC 60759 AMD 1-1991 | 半导体X射线能谱仪的标准试验程序 修改1 | Standard test procedures for semiconductor X-ray energy spectrometers; amendment 1 | 正常
DIN 51418-2-2015 | X射线光谱分析.X射线散射和X射线荧光分析(RFA).第2部分:定义和测量、校准及评估的基本原则 | X-ray spectrometry - X-ray emission and X-ray fluorescence analysis (XRF) - Part 2: Definitions and basic principles for measurements, calibration and evaluation of results | 正常
DIN 51418-1-2008 | X射线光谱测定法.X射线散射和X射线荧光分析(XRF).第1部分:定义和基本原理 | X-ray spectrometry - X-ray emission- and X-ray fluorescence analysis (XRF) - Part 1: Definitions and basic principles | 正常
DIN 51418-2-1996 | X射线光谱分析.X射线散射和X射线荧光分析(RFA).第2部分:定义和测量、校准及评估的基本原则 | X-ray spectrometry - X-ray emission- and X-ray fluorescense analysis (XRF) - Part 2: Definitions and basic principles for measurements, calibration and evaluation of results | 正常
NF X20-302-1974 | 质谱仪进行气体分析.气体化学成分的测定 | Gas analysis by mass spectrometry. Determination of gas chemical composition. | 正常
GB/T 34826-2017 | 四极杆电感耦合等离子体质谱仪性能的测定方法 | Method of performance testing for quadrupole inductively coupled plasma mass spectrometer | 正常
GB/T 35410-2017 | 液相色谱-串联四极质谱仪性能的测定方法 | Method of performance testing for liquid chromatography-tandem quadrupole mass spectrometry | 正常
GB/T 25154-2010 | 电容法液相微量水分仪 |  | 正常
GB/T 25189-2010 | 微束分析.扫描电镜能谱仪定量分析参数的测定方法 | Microbeam analysis.Determination method for quantitative analysis parameters of SEM-EDS | 正常
GB/T 21006-2007 | 表面化学分析 X射线光电子能谱仪和俄歇电子能谱仪 强度标的线性 | Surface chemical analysis.X-ray photoelectron and Auger electron spectrometers.Linearity of intensity scale | 正常
GB/T 13979-1992 | 氦质谱检漏仪 |  | (作废)
JJF 1531-2015 | 傅立叶变换质谱仪校准规范 | Calibration Specification for Fourier Transform Mass Spectrometers | 正常
JJF 1528-2015 | 飞行时间质谱仪校准规范 | Calibration Specification for Time-of-Flight Mass Spectrometers | 正常
JJF 1317-2011 | 液相色谱-质谱联用仪校准规范 | Calibration Specification for Liquid Chromatography-Mass Spectrometers | 正常
JJF 1508-2015 | 同位素丰度测量基准方法 | Primary Method of Isotopic Abundance Measurement | 正常
JJF 1159-2006 | 四极杆电感耦合等离子体质谱仪校准规范 | Calibration Specification for Quadrupole Inductively Coupled Plasma Mass Spectrometers | 正常
JJF 1158-2006 | 稳定同位素气体质谱仪校准规范 | Calibration Specification for Stable Isotope Gas Mass Spectrometer | 正常
JJG 629-2014 | 多晶X射线衍射仪检定规程 | Polycrystalline X-Ray Diffractometers | 正常
JB/T 9363-1999 | 四极质谱计.技术条件 | Specifications of quadrupole mass spectrometer | 正常
JJF 1290-2011 | 微粒检测仪校准规范 | Calibration Specification for Particulate Analyzer | 正常
SJ/T 10714-1996(2017) | 检查X射线光电子能谱仪工作特性的标准方法 | Standard practice for checking the operation characteristics of X-ray photoelectron spectrometers | 正常
JY/T 009-1996 | 转靶多晶体X射线衍射方法通则 | General rules for X-ray polycrystalline diffractometry | (作废)
JY/T 008-1996 | 四圆单晶X射线衍射仪测定小分子化合物的晶体及分子结构分析方法通则 | General rules for crystal and molecular structure determination of small molecules by four-circle single crystal X-ray diffractometer | (作废)
JY/T 007-1996 | 超导脉冲傅里叶变换核磁共振波谱方法通则 | General rules for superconducting pulse fourier transform nuclear magnetic resonance spectrometry | (作废)
JY/T 006-1996 | 脉冲傅里叶变换电磁体核磁共振波谱方法通则 | General rules for pulse fourier transform electromagnet NMR spectrometry | (作废)
JY/T 005-1996 | 电子顺磁共振谱方法通则 | General rules for electron paramagnetic resonance spectrometry | (作废)